|  | MUNICIPALITY OF ANCHORAGE Project Management and Engineering Department |  |
| --- | --- | --- |

MEMORANDUM

DATE:	4/22/2024

TO:	Requestor

SUBJECT:	PM&E ‘Collection’ Special Provisions for Project Manual Document

Attached is a collection of special provisions that have been compiled from PM&E’s projects over the past few years. The intent is to include ‘special provisions’ that have the potential for re-use and may require some modifications.

These special provisions are to be used with the 2024 M.A.S.S. only.

This collection of special provisions are not ‘standard’ special provisions and should not be used as such.

Not all of these special provisions are applicable on all projects. Not all of these special provisions are applicable in their current wording.

It is the engineer’s responsibility to determine the applicability of the special provision(s) used, as well as final wording.  Most of these special provisions were developed based on project-specific requirements.  Please re-read the second paragraph, above.

Should you have questions, comments, or suggested revisions, please feel free to contact Brandon Telford at 343-8145 or email massupdate@muni.org.

Summary of Modifications

| Date | Modification |
| --- | --- |
| 3/22/12 | Updated to Rev 2 language – removed everything inserted into Rev 2. |
| 5/31/2012 | Added Glass Cullet specials to 20.21 and 20.22; updated insurance form & 10.6.9 language |
| 6/5/12 | Modified Minimum Rates of Pay language |
| 6/6/12 | Added Sample Bid Proposal pages to show how the column spacing should be set up so the pages are actually usable. |
| 9/10/12 | Added Recycled Concrete as an alternative to Leveling Course |
| 3/21/13 | Updated for Rev 3 |
| 4/1/13 | Updated Contact information |
| 5/10/13 | Updated DOL language and Bid Proposal Signature information |
| 7/9/13 | Updated Project Information Sign information & Day Labor Article # |
| 2/21/14 | Updated Contract dates and Bid Proposal Signature Page |
| 3/28/14 | Added language re: Profit & Overhead markup on Sub invoices |
| 7/10/14 | Added Line in Footer (left side) of BP pages for Contractor Name |
| 8/12/14 | Updated Utility Contact info in 10.4.17 Utilities |
| 2/27/15 | Updated for the 2015 MASS release. Removed SPs that were inserted into MASS. |
| 3/25/15 | Updated ML&P contact info. Fixed typos in the BPs. |
| 1/6/16 | Fixed years in boilerplate contract; Updated Contact info in 10.4.17 |
| 2/22/16 | Deleted PW; PM&E Div to Dept; Updated 10.4.7 again; Submittal List |
| 3/21/16 | Added CEA and ENSTAR construction requirement links to 4.17 |
| 6/27/16 | Added Final Rule for PHMSA link for ENSTAR requirements |
| 7/8/16 | Deleted Spenard Fence & other extra crap at the end. |
| 3/29/17 | Updated 2016 to 2017 & misc other mods to Sample Contract; published BP Excel samples (get them from the website) |
| 4/14/17 | Added “bird window” language to 20.04, 20.05, 20.06 |
| 1/31/18 | Updated 2017 to 2018; added delineators to 10.4.8 and 10.5.31; changed “partially” to “fully” deteriorated pipe in 55.26; AASHTO MP-21 to AASHTO M330 in Div 55; updated Trail Clearing spec 20.05. |
| 4/9/18 | Updated OEO language and Bid Bond sheet |
| 1/24/19 | Updated to 2019 and added new Sample Contract |
| 1/8/21 | Updated Contact Information, 2021, added language to 10.04, modified Pavement Disposal note to reflect St. Maint wanting pavement. |
| 4/1/22 | Updated Contact Information; Fixed formatting issues; Modified 95.01; Updated project sign requirements in 10.4.22; Added 20.09 Removal of Pavement; Modified 20.04 and 20.06; Added 75.04 Seeding, 75.05 Sod, and 75.12 Moose Protection Fence. |
| 5/26/23 | Updated Contact Information; Fixed formatting issues; Added 30.01, 30.02, 30.03, 30.04, 30.09, 40.07 and Details 30-8A, 30-8B, 30-9, 30-16, 40-4, 40-5, and 40-6. |
| 4/22/24 | Removed special provisions that have been incorporated into the MASS 2024 Update. Revised Section 95.03 Time of Completion provision. |

1-21-04  Add the following Watermarks to draft specs at each revision stage - per MJS.  (rmb)

Version 1:		Preliminary Submittal Not For Construction + Date

Version 2:		Final Submittal Not For Construction + Date

Version 3:		100% Submittal Not For Construction + Date

don’t forget to add watermark

PROJECT NAME

PROJECT LIMITS

XX-XX

Invitation to Bid No.

PROJECT MANUAL

Municipality of Anchorage

Project Management and Engineering Department

4700 Elmore Road

Anchorage, Alaska  99507

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

XX-XX

MASTER INDEX

| I. |  | INVITATION TO BID |
| --- | --- | --- |
| II. |  | SPECIAL PROVISIONS |
| III. |  | SUBMITTAL LIST |
| IV. |  | SPECIAL DETAILS |
| V. |  | SOILS INFORMATION |
| VI. |  | TEMPORARY CONSTRUCTION PERMITS AND EASEMENTS |
| VII. |  | EQUAL EMPLOYMENT OPPORTUNITY SPECIAL PROVISIONS |
| VIII. |  | MINIMUM RATES OF PAY |
| IX. |  | CONTRACT |
| X. |  | CONTRACT PERFORMANCE AND PAYMENT BOND |
| XI. |  | CERTIFICATE OF INSURANCE |
| XII. |  | BID BOND |
| XIII. |  | BIDDER’S CHECKLIST & RESPONSIBLE BIDDER QUESTIONNAIRE |
| XIV. |  | BID PROPOSAL |
| XV. |  | PLANS (___ SHEETS) |

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

I

INVITATION TO BID

MUNICIPALITY OF ANCHORAGE

PURCHASING DEPARTMENT

Invitation to Bid

No. 2023C

Sealed bids will be received in accordance with the time schedule shown below by the Municipality of Anchorage at the Purchasing Department, 632 W. 6th Avenue, Suite 520; Anchorage, Alaska, 99501, for:

Project name

consisting of approximately _____ S.Y. of Sidewalk and Concrete Apron Removal and Replacement; _____ S.Y. of Curb Ramps; _____ L.F. of Curb and Gutter Removal and Replacement; _____ Tons of A.C. Pavement; _____ S.Y. of Pavement Removal; _____ Catch Basins; _____ Storm Drain Manhole; _____ L.F. of Storm Pipe Removal and Replacement; and other related work.

ESTIMATED CONSTRUCTION COST:  Between $1,000,000 and $3,000,000

| Site Visit(s) at |  |  |
| --- | --- | --- |
| Pre-Bid Conference at |  |  |
| REQUEST ANY QUESTIONS BE SUBMITTED IN WRITING TO WWPUR@MUNI.ORG., BEFORE THE PRE-BID CONFERENCE. Please reference the Project Title and Invitation to Bid No. 2017C0 |
| Bids Opened at |  |  |
| Post-Bid Conference at |  |  |

An electronic (.pdf) copy of the Invitation to Bid is available at Municipality of Anchorage, Purchasing Office’s website; (http://purchasing.muni.org).  Should you choose to obtain a copy of the Invitation to Bid from the website; it is your responsibility to periodically check the website for addenda.

At the above-indicated time, the bids will be opened publicly and read.  Bids must be received by the Purchasing Officer prior to the time fixed for opening of the bids to be considered.  Time of receipt will be as determined by the time stamp in the Purchasing Office, Suite 520.

Drawings, specifications, and contract documents may be examined and will be available for pickup at 632 W. 6th Avenue, Suite 520; Anchorage, Alaska; Monday through Friday, 8 a.m. until 12 noon and 1 p.m. until 5 p.m.  These documents are available for sale on a non-refundable basis at $	 per set (cash or check only).

Fees stated above include parcel post charges (1st class mail).  Should expedited handling be desired, Federal Express or equivalent service will be utilized on a reverse billing basis only.

The Municipality of Anchorage reserves the right to reject any and all bids and to waive any informalities in the bids.  No bidder may withdraw his bid after the hour set for the opening of bids or before the Award of Contract unless said award is delayed for a period exceeding forty-five (45) days from the time of the opening.

The Municipality shall not be responsible for bid preparation costs, nor for costs, including attorney fees, associated with any (administrative, judicial, or otherwise) challenge to the determination of the lowest responsive and responsible bidder and/or award of contract, and/or rejection of bids.  By submitting a bid, each bidder agrees to be bound in this respect and waives all claims to such costs and fees.

Contracts shall be awarded by written notice issued by the Purchasing Officer to the lowest responsive and responsible bidder; however, preference will be given to local bidders in compliance with Anchorage Municipal Code, Section 7.20.040.

A pre-bid conference will be held at the above-indicated time in the Purchasing Office for the purpose of answering any questions bidders may have and to consider any suggestions they may wish to make.  Any changes resulting from this conference will be made by Addendum immediately following the conference.  This conference is held for the benefit of the bidders.  It is requested that some person of authority from the office of the prospective bidder attend this meeting.

The Municipality of Anchorage assumes no responsibility for any interpretations or presentations made by any of its officers or agents unless such interpretations or presentations are made by written addendum to this Invitation to Bid.

Bonding requirements are per M.A.S.S.B./M.A.S.S. or as per Special Provisions.

PUBLISH ONE TIME

Date

Rachelle Alger

Purchasing Director

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

II

SPECIAL PROVISIONS

Insert appropriate engineers’ stamps in footer.   Engineer stamps are located in the PF\Templates\ PE Seal folder.

USE PASTE SPECIAL AND PASTE AS A PICTURE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

INDEX TO SPECIAL PROVISIONS

PAGE

SECTION 95.01	LOCATION AND SCOPE	1

SECTION 95.02	REFERENCE TO MUNICIPALITY OF ANCHORAGE STANDARD SPECIFICATIONS	1

SECTION 95.03	TIME OF COMPLETION	2

SECTION 95.04	MODIFICATIONS AND/OR ADDITIONS TO MUNICIPALITY OF ANCHORAGE standard SPECIFICATIONS	2

A.  	DIVISION 10 STANDARD GENERAL PROVISIONS	2

SECTION 10.00	ALL APPLICABLE M.A.S.S. ARTICLES	2

SECTION 10.04	SCOPE OF WORK	2

Article 4.8	Work Incidental to the Contract	2

Article 4.17	Utilities	2

Article 4.22	Project Information Signs	4

Article 4.23	Work Order Issued Under “Day Labor” Type Contracts	4

SECTION 10.05	CONTROL OF WORK	4

Article 5.27	Liquidated Damages	4

SECTION 10.07	MEASUREMENT AND PAYMENT	4

Article 7.0	Payments to Contractors and Subcontractors	4

B.  	DIVISION 20 STANDARD CONSTRUCTION SPECIFICATIONS FOR EARTHWORK	4

SECTION 20.09	REMOVAL OF PAVEMENT	4

Article 9.2  	Construction	5

C.  	DIVISION 30 STANDARD CONSTRUCTION SPECIFICATIONS FOR PORTLAND CEMENT CONCRETE	5

D.  	DIVISION 40 STANDARD CONSTRUCTION SPECIFICATIONS FOR ASPHALT SURFACING	5

E.  	DIVISION 50 STANDARD CONSTRUCTION SPECIFICATIONS FOR Sanitary Sewers	5

F. 	DIVISION 55 STANDARD CONSTRUCTION SPECIFICATIONS FOR STORM DRAIN SYSTEMS	5

SECTION 55.26	CURED IN PLACE PIPE (CIPP) LINING	5

Article 26.3	Materials	5

G.  	DIVISION 60 STANDARD CONSTRUCTION SPECIFICATIONS FOR WATER SYSTEMS	5

H. 	 Division 65 Standard Construction Specifications for Construction Survey	5

I.  	DIVISION 70 STANDARD CONSTRUCTION SPECIFICATIONS MISCELLANEOUS	5

J.  	DIVISION 75 STANDARD CONSTRUCTION SPECIFICATIONS FOR LANDSCAPING IMPROVEMENTS	5

K.  	DIVISION 80 STANDARD CONSTRUCTION SPECIFICATIONS FOR TRAFFIC SIGNALS AND ILLUMINATION	6

L.  	DIVISION 85 STANDARD CONSTRUCTION SPECIFICATIONS FOR TRAFFIC CONTROL DEVICES	6

SECTION 85.05	TRAFFIC MAINTENANCE	6

Article 5.6	Public Notice	6

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

SPECIAL PROVISIONS

## SECTION 95.01	LOCATION AND SCOPE

All proposed Work is located within the Municipality of Anchorage corporate limits and is more particularly located on the design drawings.  The Work included under this Contract consists of furnishing all labor, materials, equipment, supervision, and other facilities necessary to successfully complete the Work set forth in the Drawings and Specifications.  The Work included under this Contract consists of, but is not limited to:

It is the responsibility of the bidder to prepare the bid so that all materials and/or fittings shall harmoniously conform to the intent of the Contract Drawings, Specifications, and Special Provisions.

Below are the schedules of Work that are presented in the Bid Proposal of this Contract:

| SCHEDULE | DESCRIPTION |
| --- | --- |
| A |  |
| B |  |
| C |  |

## SECTION 95.02	REFERENCE TO MUNICIPALITY OF ANCHORAGE STANDARD SPECIFICATIONS

This Contract is subject to and hereby incorporates by reference the Municipality of Anchorage Standard Specifications, dated 2024, hereinafter referred to as M.A.S.S.; the Alaska Sign Design Specifications (ASDS) as adopted and amended by the Municipality; the Municipality of Anchorage Sign Manual; the Alaska Traffic Manual (ATM); the Manual on Uniform Traffic Control Devices (MUTCD) 2009 Edition, with the Alaska supplement, dated 1/13/12; the National Electrical Safety Code (NESC) as amended and adopted by the Municipality; the National Electrical Code as amended and adopted by the Municipality of Anchorage; and the Edition of the Standard Specifications for Structural Supports for Highway Sign, Luminaires and Traffic Signals provided in the appropriate divisions.  When conflicts exist between M.A.S.S. and MUTCD, the requirements of M.A.S.S. and these Special Provisions shall govern.

## SECTION 95.03	TIME OF COMPLETION

This Project shall be Substantially Completed within XX (XX) calendar days after the Notice-to-Proceed is issued.  The Contract Completion date shall be within XX (XX) calendar days after the Substantial Completion letter is issued.  The total contract days for this Project is XX (XX).

## SECTION 95.04	MODIFICATIONS AND/OR ADDITIONS TO MUNICIPALITY OF ANCHORAGE standard SPECIFICATIONS

The following listed provisions of M.A.S.S. are amended as hereinafter stated:

# A.  	DIVISION 10	STANDARD GENERAL PROVISIONS

Add the following Section:

## SECTION 10.00	ALL APPLICABLE M.A.S.S. ARTICLES

{Section 10.00 is required for ALL contracts unless federal money is involved in the construction project.  If federal money is involved, delete this Section.}

Delete all references to and requirements for compliance with Anchorage Municipal Code Chapter 7.60 the Disadvantaged/Women Owned Business (DBE/WBE) program and specifications.

## SECTION 10.04	SCOPE OF WORK

### Article 4.8	Work Incidental to the Contract

Add the following item:

13.	Installation of flexible delineators at the end of culverts, ends of retaining walls, field inlets, and other locations that may be hazardous or should be delineated for snow removal operations as determined by the Engineer.

### Article 4.17	Utilities

3. 	Gas

Add the following paragraphs:

The Contractor shall download and follow the most current construction guidelines published by ENSTAR.  Those guidelines can be downloaded from:

https://www.enstarnaturalgas.com/safety-education/natural-gas-safety/safety-for-excavators-contractors/

Click on the link in the last sentence of the first paragraph.

The Final Rule from the PHMSA website can be obtained from:

https://www.phmsa.dot.gov/pipeline/excavator-final-rule/about-excavation-enforcement-final-rule

Click on the “Final Rule on Excavation Damage 80 FR 43836” link under Related Links.

4.	Electrical and Telecommunications

Add the following paragraphs:

The Contractor shall download and follow the most current construction guidelines published by Chugach Electric Association.  Those guidelines can be downloaded from:

https://www.chugachelectric.com/member-services/regulations-requirements

Click on the link titled “Electrical Facility Clearance Requirements”.

The following contact information is provided as a courtesy to the Contractor and is the most currently available.

Alaska Communication Systems (ACS) – Duilio Guerrero, 564-1522 or 230-8268

Anchorage Water & Wastewater Utility (AWWU) – Shawn Dooley, 564-2786

AT&T – Mike Barsalou, 264-7325

Chugach Electric Association (CEA) – Victor Willis, 230-7536

ENSTAR Natural Gas – Stan Staples, 334-7777

GCI – Steven Cranford, 868-6769

Municipal Street and Storm Drain Maintenance – Eric Hodgson, 343-8100

Municipal Street Light Maintenance – Jessica Michou, 343-8445

Municipal Traffic Signals Section – Levi Piehl, 343-8363

Solid Waste Services (SWS) – Evalu Filitaula, 343-6258 or 317-6863

Matanuska Electric Association (MEA) – John Foutz, 761-9265

Matanuska Telephone Assoc. (MTA) – Robbie Nash, 761-2704 or 355-1687

Eagle River Street & Storm Drain Maintenance – Anthony Winsor, 343-1512

Alaska Waste – Josh James, 688-4446

### Article 4.22	Project Information Signs

Add the following:

Contractor shall install ___ (XX) project information sign(s).

### Article 4.23	Work Order Issued Under “Day Labor” Type Contracts  (Applies to Term Contracts Only)

{Should be deleted for non Day Labor Contract projects}

THE CONTRACTOR SHALL NOT ACCEPT ANY INDIVIDUAL PROJECT OR WORK ORDER UNDER THIS CONTRACT IN EXCESS OF $50,000 WITHOUT THE PRIOR CONSENT OF THE PURCHASING OFFICER, OR HIS/HER DESIGNEE.  THIS CONDITION IS A MATERIAL ASPECT OF THE CONTRACT.  Notwithstanding the notice requirements of M.A.S.S. Section 10.05, Article 5.28 - Termination of Contract by Owner violations of this provision constitute an immediate and material breach of the contract terms and may result in the termination of this contract for default by the Contractor without further administrative action.

## SECTION 10.05	CONTROL OF WORK

### Article 5.27	Liquidated Damages

Add the following paragraph:

{Amount of liquidated damages is project specific.}

The Owner may withhold from any progress payment the sum of $_____ per day as Liquidated Damages for each and every calendar day that the Substantial Completion Date is delayed beyond the Contract Completion Date.  The Owner may withhold out of any progress payment the sum of $____ per day as Liquidated Damages for each and every calendar day that the Final Acceptance Date is delayed beyond the Contract Completion Date.  If no money is due Contractor, the Owner will have the right to recover said sums from Contractor, the Surety, or both.

Verify that Section 10.07 applies, if not remove Section 10.07.

## SECTION 10.07	MEASUREMENT AND PAYMENT

Add the following Article:

### Article 7.0	Payments to Contractors and Subcontractors

{May be deleted for non-state-funded projects.}

This Contract is funded (in part or in its entirety) by the State of Alaska; therefore, the Provisions of Alaska Statute 36, Section 36.90, Article 3, entitled “Public Construction Contract Payment,” apply.

# B.  	DIVISION 20	STANDARD CONSTRUCTION SPECIFICATIONS FOR EARTHWORK

## SECTION 20.09	REMOVAL OF PAVEMENT

The following change to Article 9.2 is only to be used for projects within ARDSA that include medium to large quantities of pavement removal.

### Article 9.2  	Construction

Replace the second paragraph with the following:

Contractor shall keep all asphalt surfacing designated for removal free from objectionable material (concrete, steel, etc.).  Contractor shall deliver all asphalt surfacing that does not contain objectionable material to Street Maintenance.  Contractor shall coordinate exact location and time of delivery with the Maintenance & Operations Department, Street Maintenance Division, at 343-8277.  If the removed asphalt surfacing, under this Section, contains objectionable material, as identified by the Engineer, Contractor shall dispose of this asphalt surfacing in accordance with Division 10, Section 10.04, Article 4.9 – Disposal Sites.

# C.  	DIVISION 30	STANDARD CONSTRUCTION SPECIFICATIONS FOR PORTLAND CEMENT CONCRETE

# D.  	DIVISION 40	STANDARD CONSTRUCTION SPECIFICATIONS FOR ASPHALT SURFACING

# E.  	DIVISION 50	STANDARD CONSTRUCTION SPECIFICATIONS FOR Sanitary Sewers

# F. 	DIVISION 55	STANDARD CONSTRUCTION SPECIFICATIONS FOR STORM DRAIN SYSTEMS

## SECTION 55.26	CURED IN PLACE PIPE (CIPP) LINING

### Article 26.3	Materials

Replace #1 of C.  Structural Requirements with the following:

- Pipes shall be considered fully deteriorated.

# G.  	DIVISION 60	STANDARD CONSTRUCTION SPECIFICATIONS FOR WATER SYSTEMS

# H. 	 Division 65	Standard Construction Specifications for Construction Survey

# I.  	DIVISION 70	STANDARD CONSTRUCTION SPECIFICATIONS MISCELLANEOUS

# J.  	DIVISION 75	STANDARD CONSTRUCTION SPECIFICATIONS FOR LANDSCAPING IMPROVEMENTS

# K.  	DIVISION 80	STANDARD CONSTRUCTION SPECIFICATIONS FOR TRAFFIC SIGNALS AND ILLUMINATION

# L.  	DIVISION 85	STANDARD CONSTRUCTION SPECIFICATIONS FOR TRAFFIC CONTROL DEVICES

## SECTION 85.05	TRAFFIC MAINTENANCE

### Article 5.6	Public Notice

Delete the first paragraph, inclusive of the list of local officials and transportation organizations, and replace with the following:

The following contact information is provided as a courtesy to the Contractor and is the most currently available.

The Work Site Traffic Supervisor shall give notices of changes, delays, or lane/road closures to the following local officials and transportation organizations including, but not limited to:

{If necessary, insert ‘Page Break’ here to have table on single page.}

{Engineer to verify current name and telephone number.}

| 1. | Alaska Trucking Association | 276-1149 |
| --- | --- | --- |
| 2. | Alaska State Troopers | 428-7200 |
| 3. | Alaska Court System | 264-8232 |
| 4. | Anchorage Police Department | 786-8500 |
| 5. | Anchorage Fire Department | 267-4950 |
| 6. | Local Emergency Medical Services | 267-4950 |
| 7. | Anchorage Public Transportation | 343-8253/8386 |
| 8. | ASD Pupil Transportation | 742-1207 |
| 9. | U.S. Postal Service | 266-3261 |
| 10. | MOA Parks and Recreation | 343-4355 |
| 11. | Local Schools and Universities |  |
| 12. 13. | Local Solid Waste Utilities Alaska Railroad (where applicable) |  |
| 14. | Major Tour Operators |  |
| 15. | Volunteer Fire Departments (applicable if operating in the project area) |  |

END OF SPECIAL PROVISIONS

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

III

SUBMITTAL LIST

PROJECT NAME

PROJECT LIMITS

XX-XX

SUBMITTAL LIST

Job #:	____________________________	Contractor:  ______________________

| Submittal Number | Rev. | Description |
| --- | --- | --- |
| 10.04.9 |  | Private Property Disposal Site Permission; Fill Permit |
| 10.04.12 |  | Property Owner 48-Hour Closure Notice |
| 10.04.13 |  | Street Closures; Traffic Control Plan |
| 10.04.15 |  | Temporary Erosion and Sediment Control Plan |
| 10.04.17 |  | Utility Notification Verification |
| 10.04.17 |  | Pre-Construction Utility Inspection Report |
| 10.04.17 |  | Post-Construction Utility Inspection Report |
| 10.04.19 |  | Record Drawings |
| 10.04.20 |  | Operating and Maintenance Manuals |
| 10.05.3 |  | Construction Progress Schedule |
| 10.05.3 |  | Schedule of Values |
| 10.05.4 |  | Notice of Unusual Working Hours |
| 10.05.7 |  | Proposed Substitutions |
| 10.05.9 |  | Contractor’s Authorized Representatives and Employees |
| 10.05.10 |  | Subcontractor’s List |
| 10.05.31 |  | Winter Suspension Plan |
| 10.06.6 |  | Contractor Obtained Permits (ROW, Noise, Electrical, Dewatering, etc.) |
| 10.06.9 |  | Certificate of Insurance |
| 10.06.12 |  | Certified Payroll |
| 10.07.1 |  | Material Weight Tickets |
| 10.07.7 |  | ADOL Notification of Compliance |
| 10.07.7 |  | Notarized Certificate of Compliance |
| 20.02.4 |  | Storm Water Pollution Prevention Plan (SWPPP) |
| 20.02.4 |  | eNOI |
| 20.02.14 |  | eNOT and Final SWPPP |
| 20.02.16 |  | SWPPP Inspection Reports |
| 20.10.8 |  | Survey Cross-Section Measurement - Usable and Unusable Excavation |
| 20.12.2 |  | Dewatering Plan |
| 20.13.2 |  | Trench Excavation Notice to Engineer and AWWU. |
| 20.29 |  | Work Plan for Pipe Casing Installation |
| 20.30 |  | Trench Sheeting/Shoring Submittal |
| 30.01.9 |  | Concrete Temperature Maintenance Procedure Proposal |
| 30.04.2 |  | Detectable Warning Panel |
| 40.02.2 |  | Certified Analysis of Asphalt for Seal Coat from Refining Laboratory |
| 40.04.2 |  | Certified Analysis of Asphalt for Tack Coat from Refining Laboratory |
| 40.04.3 |  | Tack Coat Test Strip and Notification |
| 40.05.2 |  | Certified Analysis of Asphalt for Crack and Joint Sealant from Laboratory |
| 40.06.2 |  | Certified Analysis of Asphalt for A.C. Pavement from Refining Laboratory |
| 40.06.3 |  | Asphalt Job Mix Formula for A.C. Pavement |
| 40.06.4 |  | Contractor’s Certificate of Compliance for bituminous paver segregation mechanism installation |
| 40.06.5 |  | Paving Plan |
| 40.09.2 |  | Certified Analysis of Asphalt for Bituminous Surface Treatment from Refining Laboratory |
| 50.02.2 |  | Sanitary Sewer Pipe and Fittings Submittal |
| 50.03.2 |  | Sanitary Sewer Concrete Structures Submittal |
| 50.04.2 |  | Sanitary Sewer Pipe Connections and Extensions Submittal |
| 50.05.2 |  | Sanitary Sewer Flow Control Submittal |
| 50.06.2 |  | Sanitary Sewer Existing Manhole Modifications Submittal |
| 50.07.2 |  | Sanitary Sewer CCTV Inspection Submittal |
| 50.08.2 |  | Work Plan for Removal and Disposal of Existing Cesspools or Septic Tanks |
| 55.02.3 |  | Storm Drain Watertight Pipe Low Pressure Air Test |
| 55.02.3 |  | Storm Drain New Pipe CCTV Inspection Submittal |
| 55.26.2 |  | Cured In Place Pipe (CIPP) Lining Submittal |
| 55.26.4 |  | Storm Drain Pipe Pre-lining CCTV Inspection Submittal |
| 55.26.4 |  | Storm Drain Pipe Post-lining CCTV Inspection Submittal |
| 60.02.2 |  | Water Pipe Submittals |
| 60.02.5 |  | Flushing and Testing Work Plan and Schedule |
| 60.03.2 |  | Water Valve Submittals |
| 60.04.2 |  | Fire Hydrant Submittals |
| 60.05.2 |  | Water Service Line Submittals |
| 60.06.2 |  | Galvanic Anode Submittals |
| 60.07.2 |  | Temporary Water Plan |
| 60.08.2 |  | Decommissioning Water System Plan |
| 65.02.2 |  | Survey Field Notes |
| 65.02.3 |  | Party Chief's Daily Diary |
| 65.02.5 |  | Survey Cross Sections |
| 65.02.5 |  | Notification Prior to Cross Section Work |
| 65.02.13 |  | Survey Electronic Data |
| 65.02.16 |  | Survey Quantity Measurements (Clearing, Clearing & Grubbing, Pavement Removal, Pavement Rotomilling, Pavement Reclamation, Road Excavation, Trench Excavation, Topsoil, Seeding, and other areas of misc. final surfacing application such as asphalt, concrete, RAP, etc. which are measured in SF or SY) |
| 75.02.2 |  | Plant Schedule |
| 75.02.3 |  | Notification 5 Working Days Prior to Plant Delivery |
| 75.02.3 |  | Identify Tree Protection Zone |
| 75.02.4 |  | Landscape Maintenance Schedule |
| 75.02.4 |  | Landscaping Watering Schedule |
| 75.03.2 |  | Topsoil Analysis Test Reports |
| 75.04.2 |  | Seed Certification Tag |
| 75.05.1 |  | Sod Submittal |
| 80.01.3 |  | Electrical Equipment and Materials Submittal |
| 80.01.3 |  | Record Drawings |
| 80.01.4 |  | Manufacturers’ Warranties, Guarantees and Instruction Sheets |
| 80.01.5 |  | Traffic Signal Maintenance Name and Telephone Number |
| 80.05.1 |  | Wind Stress Certification Submittal |
| 80.17.2 |  | Controller Unit Documentation |
| 80.17.7 |  | Controller Unit, Aux. Equipment, and Cabinet Submittal |
| 80.18 |  | Loop Detector Test Reports |
| 80.23.2 |  | Luminaire Lens Certified Compliance |
| 80.25 |  | Falsework Lighting Submittal |
| 80.30.3 |  | Heat Trace System Submittal |
| 80.30.4 |  | Heat Trace System Warranties, Guarantees, and Inspection Sheets |
| 85.03.3 |  | Manufacturer’s Recommendations for Application of Methyl Methacrylate Traffic Markings |
| 85.05.2 |  | Traffic Control Plan (TCP) |
| 85.05.4 |  | Identify Work Site Traffic Supervisor/Telephone Number |
| 85.05.6 |  | Proof of Public Notice |
| 85.11.2 |  | Permanent Vertical Traffic Calming Devices Cross Section Template |

NOTE:	The above list of submittals is not all inclusive.  In addition to the above, the Contractor is required to comply with all submittal requirements as required or identified in the plans, specifications, M.A.S.S., or as directed by the Engineer.

PROJECT NAME

PROJECT LIMITS

XX-XX

#### SUBMITTAL LIST

Job #:	____________________________	Contractor:  ______________________

| Submittal Number | Rev. | Description |
| --- | --- | --- |

NOTE:	The above list of submittals is not all-inclusive.  In addition to the above, the Contractor is required to comply with all submittal requirements as required or identified in the plans, specifications, M.A.S.S., or as directed by the Engineer.

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

IV

special details

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

V

SOILS INFORMATION

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

VI

TEMPORARY CONSTRUCTION PERMITS AND EASEMENTS

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

VII

EQUAL EMPLOYMENT OPPORTUNITY SPECIAL PROVISIONS

CONTRACT COMPLIANCE SPECIFICATIONS

EQUAL EMPLOYMENT OPPORTUNITY

SPECIAL PROVISIONS

Every municipal contract shall include language substantially the same as the following:  The contractor will not discriminate against any employee or applicant for employment because of race, color, religion, national origin, ancestry, age, sex, sexual orientation, gender identity, marital status, or physical or mental disability.  The contract will comply with all laws concerning the prohibition of discrimination including, but not limited to, Title 5 and Title 7 of the Anchorage Municipal Code.

Every municipal contract shall state, in all solicitations or advertisements for employees to work under the contract, that all qualified applicants will receive consideration for employment without regard to race, color, religion, national origin, ancestry, age, sex, sexual orientation, gender identity, marital status, or physical or mental disability.

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

VIII

MINIMUM RATES OF PAY

Laborers’ & Mechanics’ Minimum Rates of Pay

Title 36. Public Contracts AS 36.05 & AS 36.10 Wage & Hour Administration Pamphlet No. 600 (Pamphlet 600) is hereby incorporated in its entirety.  Pamphlet 600 is available for free download at http://labor.state.ak.us/lss/pamp600.htm.

The Municipality of Anchorage will include a paper copy of the wage rates in the signed Contract.

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

IX

CONTRACT

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

X

CONTRACT PERFORMANCE AND PAYMENT BOND

CONTRACT PERFORMANCE AND PAYMENT BOND

KNOW ALL MEN BY THESE PRESENTS, That we ___________________________________

________________________________ of __________________________________________

as Principal, and _______________________________________________________________

a corporation organized under the laws of the ________________________________________

________________________________________ and authorized to transact surety business in the State of Alaska, of ___________________________________________________________

as Surety, are held and firmly bound unto the MUNICIPALITY OF ANCHORAGE, as Obligee, in the full and just sum of __________________________________________________________

($___________________________________) Dollars, lawful money of the UNITED STATES, for the payment which, well and truly to be made, we bind ourselves, our heirs, executors, administrators, successors and assigns, jointly and severally, firmly by these presents.

THE CONDITIONS OF THIS OBLIGATION IS SUCH, that whereas the principal has entered into a certain contract dated the ______________________ date of ____________ 20____________, with the Obligee for the construction of _______________________________

_____________________________________________________________________________

which contract is hereby referred to and made a part hereof as fully and to the same extent as if copied at length herein.

NOW THEREFORE, if the Principal shall well and truly perform and fulfill all the undertakings, covenants, terms, conditions, and agreements of said contract, and shall promptly make payments to all persons supplying labor and material in the prosecution of the work provided for in said contract, during the original term of said contract and any extensions or modifications thereof that may be granted by the Municipality, with or without notice to the Surety, then this obligation to be void; otherwise to remain in full force and effect.

This obligation is made for the use of said Obligee and also for use and benefit of all persons who may perform any work or labor or furnish any material in the execution of said Contract and may be sued on thereby in the name of said Obligee.

The said Surety, for the value received, hereby stipulates and agrees that no change, extension of time, alteration or addition to the terms of the contract or to the work to be performed thereunder or the specifications accompanying the same, shall in anywise affect its obligations on this bond, and it does hereby waive notice of any such change, extension of time, alteration or addition to the terms of the contract or to the work or to the specifications.

Whenever Principal shall be, and declared by Obligee to be in default under the Contract the Obligee having performed Obligee’s obligations thereunder, the Surety may promptly remedy the default or shall promptly:

1.	Complete the Contract in accordance with its terms and conditions, or

2.	Obtain a bid or bids for submission to Obligee for completing the Contract in accordance with its terms and conditions and upon determination by Surety of the lowest responsible bidder, or, if the Obligee elects, upon determination by Obligee and the Surety jointly of the lowest responsible bidder, arrange for a contract between such bidder and Obligee and make available as Work progresses (even though there should be a default or a succession of defaults under the contract or contracts of completion arranged under this paragraph) sufficient funds to pay the cost of completion less the balance of the contract price but not exceeding, including other costs and damages for which the Surety may be liable hereunder the amount set forth in the first paragraph hereof.  The term “balance of the contract price” as used in this paragraph, shall mean the total amount payable by Obligee to Principal under the Contract and any amendments thereto, less the amount properly paid by Obligee to Principal.

IN TESTIMONY WHEREOF, the parties hereunto have caused the execution hereof in ________

________________ original counterparts as of the __________________ day of ____________,

20_________.

WITNESS AS TO PRINCIPAL:

_________________________________			________________________________

Principal Name

___________________________

Principal Signature

___________________________

Corporate Surety

(AFFIX CORPORATE SEAL)

___________________________

___________________________

Surety Business Address

BY:	___________________________

(Attorney-In-Fact)

(AFFIX SURETY SEAL)

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

XI

CERTIFICATE OF INSURANCE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

XII

BID BOND

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

XIII

BIDDER’S CHECKLIST & RESPONSIBLE BIDDER QUESTIONNAIRE

BIDDER’S CHECKLIST

INSTRUCTIONS TO BIDDER

I.	General

Bidders are advised that, notwithstanding any instructions or implications elsewhere in this Invitation to Bid, only the documents shown and detailed on this sheet need be submitted with and made part of their bid.  Other documents may be required to be submitted after bid time, but prior to award.  Bidders are hereby advised that failure to submit the documents shown and detailed on this sheet shall be justification for rendering the bid nonresponsive.  Evaluation of bids for responsiveness shall be accomplished in accordance with Anchorage Municipal Code, Title 7.

II.	REQUIRED DOCUMENTS FOR BID:

NOTE:	Only the following listed items as marked with an “X” are required to be completely filled out and submitted with the bid.

X    	Bid proposal consisting of pages BP-      through BP-     .  BP-      of BP-      must be manually signed.

X    	Erasures or other changes made to the Bid Proposal Sheet must be initialed by the person signing the bid.

Two identical sets of descriptive literature, brochures, and/or data must accompany the bid where specifically requested or when in support of an “or equal” offer.

X    	Bid bond, certified check, cashiers check, money order or cash shall be submitted with the bid in the amount indicated.

X    	All Addenda issued shall be acknowledged in the space provided on the Bid Proposal sheet or by manually signing the Addenda sheet and submitting it prior to the bid opening in accordance with Anchorage Municipal Code 7.20.020C.

Disadvantaged and Women-Owned Business Enterprises, Form 10-029

Others

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

XIV

BID PROPOSAL

BID PROPOSAL

(CERTIFICATION)

TO:	MUNICIPALITY OF ANCHORAGE				, 2023

PURCHASING DEPARTMENT

632 W. 6TH AVENUE, SUITE 520

ANCHORAGE, ALASKA 99501

SUBJECT:	Invitation to Bid No. 2023C

PROJECT TITLE:

Pursuant to and in compliance with subject Invitation to Bid, and other bid documents relating thereto, the bidder hereby proposes to furnish all labor and materials and to perform all work for the construction of the above referenced project in strict accordance with the bid documents at the prices established in the Bid Proposal, pages BP-XX of YY through BP-ZZ of YY submitted herewith.

The bidder agrees, if awarded the contract, to commence and complete the work within the time specified in the bid documents.

The bidder acknowledges receipt of the following addenda:

Addenda No.				Date of Addenda

Addenda No.				Date of Addenda

Addenda No.				Date of Addenda

Enclosed is a Bid Bond in the amount of 		.

(Dollar Amount or Percentage of Bid)

Type of Business Organization

The bidder, by checking the applicable box, represents that it operates as (  ) a corporation incorporated under the laws of the State of 	, (  ) an individual, (  ) an LLC, (  ) a partnership, (  ) a nonprofit organization, or (  ) a joint venture.  If a partnership or joint venture, identify all parties on a separate page.

Company Name

BID PROPOSAL

(CERTIFICATION)

Continued

SUBJECT:	Invitation to Bid No.

PROJECT TITLE:

Date						Alaska Contractor’s License Number

Company Name (Printed)					Employer’s Tax Identification Number

Authorized Representative Signature					Printed Name & Title

Company Mailing Address						Company Phone Number

City, State, Zip Code							Company Fax Number

Company Email Address

Company Physical Address

(if different from mailing address)

City, State, Zip Code

| SCHEDULE A – Basic Bid SAMPLE |
| --- |
| ITEM | SPEC. | WORK DESCRIPTION |  | EST | UNIT BID | TOTAL BID |
| NO. | NO. | (UNIT PRICE IN WORDS) |  | QTY | PRICE | PRICE |
| A-1 | 20.02 | Storm Water Pollution Prevention Plan (Type 3) | per L.S. | 1 |  |  |
| A-2 | 95.04 20.09 | Remove Pavement | per S.Y. | 2,000 |  |  |
| A-3 | 20.10 | Unusable Excavation | per C.Y. | 2,550 |  |  |
| A-4 | 30.02 | P.C.C. Curb & Gutter (All Types) | per L.F. | 100 |  |  |
| A-5 | 75.03 | Topsoil (4") | per MSF | 5.2 |  |  |
| A-6 | 75.04 | Seed (Schedule A) | per MSF | 5.2 |  |  |
|  |  |  | Schedule A Total: |  |  |
|  |  | Contractor |  |  | Date |  |

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

XV

PLANS (XX SHEETS)

Suggested organization of Plan Set}

| Sheet 1 | Cover Sheet |
| --- | --- |
| Sheet 2 | Key Map and Legend |
| Sheet 3 | Survey Control Sheet |
| Sheet 4 | Demolition Plan |
| Sheet 5 | Street Improvement Plan |
| Sheet 6 | Street Improvement Plan |
| Sheet 7 | Storm Drain Improvements |
| Sheet 8 | Sanitary Sewer Improvements |
| Sheet 9 | Water Improvements |
| Sheet 10 | Details |
| Sheet 11 | Curb Ramp Details |
| Sheet 12 | Illumination Plan |
| Sheet 13 | Striping Plan |
| Sheet 14 | Signing Plan (may be combined with striping plan) |
| Sheet 15 | Sign Installation and Pavement Marking Detail Sheet |
| Sheet 16 | ML&P Vault and Duct System |
| Sheet 17 |  |
| Sheet 18 |  |
| Sheet 19 |  |
| Sheet 20 |  |
| Sheet 21 |  |
| Sheet 22 |  |