|  | MUNICIPALITY OF ANCHORAGE Project Management and Engineering Department |  |
| --- | --- | --- |

MEMORANDUM

DATE:	4/1/2022

TO:	Requestor

SUBJECT:	PM&E ‘Collection’ Special Provisions for Project Manual Document

Attached is a collection of special provisions that have been compiled from PM&E’s projects over the past few years. The intent is to include ‘special provisions’ that have the potential for re-use and may require some modifications.

These special provisions are to be used with the 2015 M.A.S.S. only.

This collection of special provisions are not ‘standard’ special provisions and should not be used as such.

Not all of these special provisions are applicable on all projects. Not all of these special provisions are applicable in their current wording.

It is the engineer’s responsibility to determine the applicability of the special provision(s) used, as well as final wording.  Most of these special provisions were developed based on project-specific requirements.  Please re-read the second paragraph, above.

Should you have questions, comments, or suggested revisions, please feel free to contact Brandon Telford at 343-8145 or email massupdate@muni.org.

Summary of Modifications

| Date | Modification |
| --- | --- |
| 3/22/12 | Updated to Rev 2 language – removed everything inserted into Rev 2. |
| 5/31/2012 | Added Glass Cullet specials to 20.21 and 20.22; updated insurance form & 10.6.9 language |
| 6/5/12 | Modified Minimum Rates of Pay language |
| 6/6/12 | Added Sample Bid Proposal pages to show how the column spacing should be set up so the pages are actually usable. |
| 9/10/12 | Added Recycled Concrete as an alternative to Leveling Course |
| 3/21/13 | Updated for Rev 3 |
| 4/1/13 | Updated Contact information |
| 5/10/13 | Updated DOL language and Bid Proposal Signature information |
| 7/9/13 | Updated Project Information Sign information & Day Labor Article # |
| 2/21/14 | Updated Contract dates and Bid Proposal Signature Page |
| 3/28/14 | Added language re: Profit & Overhead markup on Sub invoices |
| 7/10/14 | Added Line in Footer (left side) of BP pages for Contractor Name |
| 8/12/14 | Updated Utility Contact info in 10.4.17 Utilities |
| 2/27/15 | Updated for the 2015 MASS release. Removed SPs that were inserted into MASS. |
| 3/25/15 | Updated ML&P contact info. Fixed typos in the BPs. |
| 1/6/16 | Fixed years in boilerplate contract; Updated Contact info in 10.4.17 |
| 2/22/16 | Deleted PW; PM&E Div to Dept; Updated 10.4.7 again; Submittal List |
| 3/21/16 | Added CEA and ENSTAR construction requirement links to 4.17 |
| 6/27/16 | Added Final Rule for PHMSA link for ENSTAR requirements |
| 7/8/16 | Deleted Spenard Fence & other extra crap at the end. |
| 3/29/17 | Updated 2016 to 2017 & misc other mods to Sample Contract; published BP Excel samples (get them from the website) |
| 4/14/17 | Added “bird window” language to 20.04, 20.05, 20.06 |
| 1/31/18 | Updated 2017 to 2018; added delineators to 10.4.8 and 10.5.31; changed “partially” to “fully” deteriorated pipe in 55.26; AASHTO MP-21 to AASHTO M330 in Div 55; updated Trail Clearing spec 20.05. |
| 4/9/18 | Updated OEO language and Bid Bond sheet |
| 1/24/19 | Updated to 2019 and added new Sample Contract |
| 1/8/21 | Updated Contact Information, 2021, added language to 10.04, modified Pavement Disposal note to reflect St. Maint wanting pavement. |
| 4/1/22 | Updated Contact Information; Fixed formatting issues; Modified 95.01; Updated project sign requirements in 10.4.22; Added 20.09 Removal of Pavement; Modified 20.04 and 20.06; Added 75.04 Seeding, 75.05 Sod, and 75.12 Moose Protection Fence. |

1-21-04  Add the following Watermarks to draft specs at each revision stage - per MJS.  (rmb)

Version 1:		Preliminary Submittal Not For Construction + Date

Version 2:		Final Submittal Not For Construction + Date

Version 3:		100% Submittal Not For Construction + Date

don’t forget to add watermark

PROJECT NAME

PROJECT LIMITS

XX-XX

Invitation to Bid No.

PROJECT MANUAL

Municipality of Anchorage

Project Management and Engineering Department

4700 Elmore Road

Anchorage, Alaska  99507

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

XX-XX

MASTER INDEX

| I. |  | INVITATION TO BID |
| --- | --- | --- |
| II. |  | SPECIAL PROVISIONS |
| III. |  | SUBMITTAL LIST |
| IV. |  | SPECIAL DETAILS |
| V. |  | SOILS INFORMATION |
| VI. |  | TEMPORARY CONSTRUCTION PERMITS AND EASEMENTS |
| VII. |  | EQUAL EMPLOYMENT OPPORTUNITY SPECIAL PROVISIONS |
| VIII. |  | MINIMUM RATES OF PAY |
| IX. |  | CONTRACT |
| X. |  | CONTRACT PERFORMANCE AND PAYMENT BOND |
| XI. |  | CERTIFICATE OF INSURANCE |
| XII. |  | BID BOND |
| XIII. |  | BIDDER’S CHECKLIST & RESPONSIBLE BIDDER QUESTIONNAIRE |
| XIV. |  | BID PROPOSAL |
| XV. |  | PLANS (___ SHEETS) |

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

I

INVITATION TO BID

MUNICIPALITY OF ANCHORAGE

PURCHASING DEPARTMENT

Invitation to Bid

No. 2021C

Sealed bids will be received in accordance with the time schedule shown below by the Municipality of Anchorage at the Purchasing Department, 632 W. 6th Avenue, Suite 520; Anchorage, Alaska, 99501, for:

Project name

consisting of approximately _____ S.Y. of Sidewalk and Concrete Apron Removal and Replacement; _____ S.Y. of Curb Ramps; _____ L.F. of Curb and Gutter Removal and Replacement; _____ Tons of A.C. Pavement; _____ S.Y. of Pavement Removal; _____ Catch Basins; _____ Storm Drain Manhole; _____ L.F. of Storm Pipe Removal and Replacement; and other related work.

ESTIMATED CONSTRUCTION COST:  Between $1,000,000 and $3,000,000

| Site Visit(s) at |  |  |
| --- | --- | --- |
| Pre-Bid Conference at |  |  |
| REQUEST ANY QUESTIONS BE SUBMITTED IN WRITING TO WWPUR@MUNI.ORG., BEFORE THE PRE-BID CONFERENCE. Please reference the Project Title and Invitation to Bid No. 2017C0 |
| Bids Opened at |  |  |
| Post-Bid Conference at |  |  |

An electronic (.pdf) copy of the Invitation to Bid is available at Municipality of Anchorage, Purchasing Office’s website; (http://purchasing.muni.org).  Should you choose to obtain a copy of the Invitation to Bid from the website; it is your responsibility to periodically check the website for addenda.

At the above-indicated time, the bids will be opened publicly and read.  Bids must be received by the Purchasing Officer prior to the time fixed for opening of the bids to be considered.  Time of receipt will be as determined by the time stamp in the Purchasing Office, Suite 520.

Drawings, specifications, and contract documents may be examined and will be available for pickup at 632 W. 6th Avenue, Suite 520; Anchorage, Alaska; Monday through Friday, 8 a.m. until 12 noon and 1 p.m. until 5 p.m.  These documents are available for sale on a non-refundable basis at $	 per set (cash or check only).

Fees stated above include parcel post charges (1st class mail).  Should expedited handling be desired, Federal Express or equivalent service will be utilized on a reverse billing basis only.

The Municipality of Anchorage reserves the right to reject any and all bids and to waive any informalities in the bids.  No bidder may withdraw his bid after the hour set for the opening of bids or before the Award of Contract unless said award is delayed for a period exceeding forty-five (45) days from the time of the opening.

The Municipality shall not be responsible for bid preparation costs, nor for costs, including attorney fees, associated with any (administrative, judicial, or otherwise) challenge to the determination of the lowest responsive and responsible bidder and/or award of contract, and/or rejection of bids.  By submitting a bid, each bidder agrees to be bound in this respect and waives all claims to such costs and fees.

Contracts shall be awarded by written notice issued by the Purchasing Officer to the lowest responsive and responsible bidder; however, preference will be given to local bidders in compliance with Anchorage Municipal Code, Section 7.20.040.

A pre-bid conference will be held at the above-indicated time in the Purchasing Office for the purpose of answering any questions bidders may have and to consider any suggestions they may wish to make.  Any changes resulting from this conference will be made by Addendum immediately following the conference.  This conference is held for the benefit of the bidders.  It is requested that some person of authority from the office of the prospective bidder attend this meeting.

The Municipality of Anchorage assumes no responsibility for any interpretations or presentations made by any of its officers or agents unless such interpretations or presentations are made by written addendum to this Invitation to Bid.

Bonding requirements are per M.A.S.S.B./M.A.S.S. or as per Special Provisions.

PUBLISH ONE TIME

Date

Rachelle Alger

Purchasing Director

MUNICIPALITY OF ANCHORAGE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

II

SPECIAL PROVISIONS

Insert appropriate engineers’ stamps in footer.   Engineer stamps are located in the PF\Templates\ PE Seal folder.

USE PASTE SPECIAL AND PASTE AS A PICTURE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

INDEX TO SPECIAL PROVISIONS

PAGE

SECTION 95.01	LOCATION AND SCOPE	1

SECTION 95.02	REFERENCE TO MUNICIPALITY OF ANCHORAGE STANDARD SPECIFICATIONS	1

SECTION 95.03	TIME OF COMPLETION	2

SECTION 95.04	MODIFICATIONS AND/OR ADDITIONS TO MUNICIPALITY OF ANCHORAGE standard SPECIFICATIONS	2

A.  	DIVISION 10 STANDARD GENERAL PROVISIONS	2

SECTION 10.00	ALL APPLICABLE M.A.S.S. ARTICLES	2

SECTION 10.04	SCOPE OF WORK	2

Article 4.8	Work Incidental to the Contract	2

Article 4.17	Utilities	2

Article 4.22	Project Information Signs	4

Article 4.23	Work Order Issued Under “Day Labor” Type Contracts	4

SECTION 10.05	CONTROL OF WORK	4

Article 5.27	Liquidated Damages	5

Article 5.31	Winter Suspension	5

SECTION 10.06	LEGAL RELATIONS AND RESPONSIBILITIES	5

Article 6.1	Laws to be Observed	5

SECTION 10.07	MEASUREMENT AND PAYMENT	5

Article 7.0	Payments to Contractors and Subcontractors	5

B.  	DIVISION 20 STANDARD CONSTRUCTION SPECIFICATIONS FOR EARTHWORK	5

SECTION 20.04	CLEARING AND GRUBBING	6

Article 4.2 	Construction	6

SECTION 20.06	REMOVAL OF TREES	6

Article 6.2  	Construction	6

SECTION 20.05	CLEARING	6

Article 5.2  	Construction	6

SECTION 20.09	REMOVAL OF PAVEMENT	6

Article 9.2  	Construction	6

SECTION 20.21	CLASSIFIED FILL AND BACKFILL	7

Article 21.2	Material	7

Article 21.3	Construction	8

Article 21.4	Measurement	8

SECTION 20.22	LEVELING COURSE	8

Article 22.2	Material	8

Article 22.3	Construction	10

Article 22.4	Measurement	10

C.  	DIVISION 30 STANDARD CONSTRUCTION SPECIFICATIONS FOR PORTLAND CEMENT CONCRETE	11

D.  	DIVISION 40 STANDARD CONSTRUCTION SPECIFICATIONS FOR ASPHALT SURFACING	11

SECTION 40.01	GENERAL	11

Article 1.7  Asphalt Price Adjustment	11

E.  	DIVISION 50 STANDARD CONSTRUCTION SPECIFICATIONS FOR Sanitary Sewers	13

F. 	DIVISION 55 STANDARD CONSTRUCTION SPECIFICATIONS FOR STORM DRAIN SYSTEMS	13

SECTION 55.02	FURNISH AND INSTALL PIPE	13

Article 2.2	Material	13

SECTION 55.26	CURED IN PLACE PIPE (CIPP) LINING	13

Article 26.3	Materials	13

G.  	DIVISION 60 STANDARD CONSTRUCTION SPECIFICATIONS FOR WATER SYSTEMS	13

H. 	 Division 65 Standard Construction Specifications for Construction Survey	13

I.  	DIVISION 70 STANDARD CONSTRUCTION SPECIFICATIONS MISCELLANEOUS	13

SECTION 70.12	TRAFFIC MAINTENANCE	13

Article 12.6	Public Notice	13

J.  	DIVISION 75 STANDARD CONSTRUCTION SPECIFICATIONS FOR LANDSCAPING IMPROVEMENTS	14

SECTION 75.04	SEEDING	14

Article 4.3	Application	14

SECTION 75.05	SOD	14

Article 5.5	Measurement	14

Article 5.6	Basis of Payment	15

SECTION 75.12 MOOSE PROTECTION FENCE	15

Article 12.1 	General	15

Article 12.2 	Materials	16

Article 12.3 	Construction	16

Article 12.4	Measurement	16

Article 12.5 	Basis of Payment	16

K.  	DIVISION 80 STANDARD CONSTRUCTION SPECIFICATIONS FOR INSTALLATION AND REMOVAL OF TRAFFIC SIGNALS AND ILLUMINATION	16

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

SPECIAL PROVISIONS

## SECTION 95.01	LOCATION AND SCOPE

All proposed Work is located within the Municipality of Anchorage corporate limits and is more particularly located on the design drawings.  The Work included under this Contract consists of furnishing all labor, materials, equipment, supervision, and other facilities necessary to successfully complete the Work set forth in the Drawings and Specifications.  The Work included under this Contract consists of, but is not limited to:

It is the responsibility of the bidder to prepare the bid so that all materials and/or fittings shall harmoniously conform to the intent of the Contract Drawings, Specifications, and Special Provisions.

Below are the schedules of Work that are presented in the Bid Proposal of this Contract:

| SCHEDULE | DESCRIPTION |
| --- | --- |
| A |  |
| B |  |
| C |  |

## SECTION 95.02	REFERENCE TO MUNICIPALITY OF ANCHORAGE STANDARD SPECIFICATIONS

This Contract is subject to and hereby incorporates by reference the Municipality of Anchorage Standard Specifications, dated 2015, hereinafter referred to as M.A.S.S.; the Alaska Sign Design Specifications (ASDS) as adopted and amended by the Municipality; the Municipality of Anchorage Sign Manual; the Alaska Traffic Manual (ATM)-Manual on Uniform Traffic Control Devices (MUTCD) 2009 Edition, with the Alaska supplement, dated 1/13/12; the National Electrical Safety Code (NESC) as amended and adopted by the Municipality; the National Electrical Code as amended and adopted by the Municipality of Anchorage; and the Edition of the Standard Specifications for Structural Supports for Highway Sign, Luminaires and Traffic Signals provided in the appropriate divisions.  When conflicts exist between M.A.S.S. and MUTCD, the requirements of M.A.S.S. and these Special Provisions shall govern.

## SECTION 95.03	TIME OF COMPLETION

This Project shall be completed within thirty (XX) calendar days after the Notice-to-Proceed is issued.

## SECTION 95.04	MODIFICATIONS AND/OR ADDITIONS TO MUNICIPALITY OF ANCHORAGE standard SPECIFICATIONS

The following listed provisions of M.A.S.S. are amended as hereinafter stated:

# A.  	DIVISION 10	STANDARD GENERAL PROVISIONS

Add the following Section:

## SECTION 10.00	ALL APPLICABLE M.A.S.S. ARTICLES

{Section 10.00 is required for ALL contracts unless federal money is involved in the construction project.  If federal money is involved, delete this Section.}

Delete all references to and requirements for compliance with Anchorage Municipal Code Chapter 7.60 the Disadvantaged/Women Owned Business (DBE/WBE) program and specifications.

## SECTION 10.04	SCOPE OF WORK

### Article 4.8	Work Incidental to the Contract

Add the following item:

14.	Installation of flexible delineators at the end of culverts, ends of retaining walls, field inlets, and other locations that may be hazardous or should be delineated for snow removal operations as determined by the Engineer.

### Article 4.17	Utilities

C. 	Gas

Add the following paragraphs:

The Contractor shall download and follow the most current construction guidelines published by ENSTAR.  Those guidelines can be downloaded from:

https://www.enstarnaturalgas.com/safety-education/natural-gas-safety/safety-for-excavators-contractors/

Click on the link in the last sentence of the first paragraph.

The Final Rule from the PHMSA website can be obtained from:

http://www.phmsa.dot.gov/nprm-anprm/PHMSA-2009-0192

Click on the “Excavation Damage 80 FR 43836 Final Rule” link on the right hand side.

D.	Electrical and Telecommunications

Add the following paragraphs:

The Contractor shall download and follow the most current construction guidelines published by Chugach Electric Association.  Those guidelines can be downloaded from:

http://www.chugachelectric.com/media-room/publications-request

Click on the link titled “Electrical Facility Clearance Requirements”.

The following contact information is provided as a courtesy to the Contractor and is the most currently available.

Alaska Communication Systems (ACS) North ANC – Francisco Martin, 564-1785 or 231-7369

Alaska Communication Systems (ACS) South ANC – Duilio Guerrero, 564-1522

Anchorage Water & Wastewater Utility (AWWU) – Shawn Dooley, 564-2786

AT&T – Mike Barsalou, 264-7325

Chugach Electric Association (CEA) – Victor Willis, 230-7536

ENSTAR Natural Gas – Stan Staples, 334-7777

GCI – Steven Cranford, 868-6769

Municipal Street and Storm Drain Maintenance – Eric Hodgson, 343-8100

Municipal Street Light Maintenance – Eric Hodgson, 343-8100

Municipal Traffic Signals Section – Levi Piehl, 343-8363

Solid Waste Services (SWS) – Evalu Filitaula, 343-6258 or 317-6863

Matanuska Electric Association (MEA) – John Foutz, 761-9265

Matanuska Telephone Assoc. (MTA) – Robbie Nash, 761-2704 or 355-1687

Eagle River Street & Storm Drain Maintenance – Mark Littlefield, 343-1512

Alaska Waste – Josh James, 688-4446

Add the following Articles:

### Article 4.22	Project Information Signs

Prior to beginning of any work on the project, Contractor shall install ___ (XX) project information sign(s) (combination owner and contractor supplied materials), in accordance with Section 70.12, Article 12.7 - Traffic Control Devices, in a location directed by the Engineer. The Owner supplied project information signs shall be available for pick up at 5701 Northwood Drive, Monday thru Thursday from 8:00 a.m. to 4:00 p.m.  Contact Paul VanLandingham at 343-8372 (office) or 317-7054 (cell) to coordinate pickup.

Owner-supplied materials are as follows:

- Project Information Sign - one (1) 4’x8’x¾” MDO wood sign Project Name, Project No. XX-XX.

Contractor provided materials are as follows:

- Sign Frame - one (1) 2”x4” lumber pre-assembled in a rectangular shape measuring 4-foot by 8-foot

- Post Skids – assembled, two (2) EA 4”x6” lumber standing vertical 8-foot in height, with 8-foot base attached with a ¾” plywood gusset between the 2 vertical pieces.

Assembly shall be constructed per Appendix XX Project Information Sign(s) detail.  Once assembled and positioned as directed by the Engineer, the Contractor shall supply and secure each post skid with two (2) each 60-pound sand bags, or provide equivalent anchoring system as approved by the Engineer. The Contractor shall be responsible for maintaining placement and possible location adjustment if required per the Engineer, and for overall maintenance of the signs.

Following final completion of the project, Contractor shall disassemble the signs and return the owner-provided materials to 5701 Northwood Drive.  Contact Paul VanLandingham at 343-8372 (office) or 317-7054 (cell) to coordinate drop-off.

All Work in this Article shall be considered incidental to the project.

### Article 4.23	Work Order Issued Under “Day Labor” Type Contracts  (Applies to Term Contracts Only)

{Should be deleted for non Day Labor Contract projects}

THE CONTRACTOR SHALL NOT ACCEPT ANY INDIVIDUAL PROJECT OR WORK ORDER UNDER THIS CONTRACT IN EXCESS OF $50,000 WITHOUT THE PRIOR CONSENT OF THE PURCHASING OFFICER, OR HIS/HER DESIGNEE.  THIS CONDITION IS A MATERIAL ASPECT OF THE CONTRACT.  Notwithstanding the notice requirements of M.A.S.S. Section 10.05, Article 5.28 - Termination of Contract by Owner violations of this provision constitutes an immediate and material breach of the contract terms and may result in the termination of this contract for default by the Contractor without further administrative action.

## SECTION 10.05	CONTROL OF WORK

### Article 5.27	Liquidated Damages

Add the following paragraph:

{Amount of liquidated damages is project specific.}

The Owner may withhold from any progress payment the sum of $_____ per day as Liquidated Damages for each and every calendar day that the Substantial Completion Date is delayed beyond the Contract Completion Date.  The Owner may withhold out of any progress payment the sum of $____ per day as Liquidated Damages for each and every calendar day that the Final Acceptance Date is delayed beyond the Contract Completion Date.  If no money is due Contractor, the Owner will have the right to recover said sums from Contractor, the Surety, or both.

### Article 5.31	Winter Suspension

C.	Suitable Conditions for Winter Maintenance

Add the following paragraph:

8.	Contractor shall install temporary flexible delineators at the end of culverts, end of retaining walls, field inlets, and other locations as determined by the Engineer.

## SECTION 10.06	LEGAL RELATIONS AND RESPONSIBILITIES

### Article 6.1	Laws to be Observed

Add the following paragraph:

Owner is not aware of any contaminated material within the project limits.  If such material is encountered, Contractor shall notify the Engineer immediately for direction.  This will be treated as a changed condition, unless the contamination was caused by Contractor’s operation.

Verify that Section 10.07 applies, if not remove Section 10.07.

## SECTION 10.07	MEASUREMENT AND PAYMENT

Add the following Article:

### Article 7.0	Payments to Contractors and Subcontractors

{May be deleted for non-state-funded projects.}

This Contract is funded (in part or in its entirety) by the State of Alaska; therefore, the Provisions of Alaska Statute 36, Section 36.90, Article 3, entitled “Public Construction Contract Payment,” apply.

# B.  	DIVISION 20	STANDARD CONSTRUCTION SPECIFICATIONS FOR EARTHWORK

## SECTION 20.04	CLEARING AND GRUBBING

### Article 4.2 	Construction

Add the following paragraph:

The Contractor shall protect migratory bird habitat in compliance with the most current version of the “Construction Advisory for Protecting Migratory Birds (pdf)” handout located at https://www.fws.gov/alaska/mbsp/mbm/index.htm.  Additionally, Contractor shall notify the Engineer immediately if any active nests are found at any time during construction of the project.

## SECTION 20.06	REMOVAL OF TREES

### Article 6.2  	Construction

Add the following paragraph to Article 6.2 Construction:

The Contractor shall protect migratory bird habitat in compliance with the most current version of the “Construction Advisory for Protecting Migratory Birds (pdf)” handout located at https://www.fws.gov/alaska/mbsp/mbm/index.htm.  Additionally, Contractor shall notify the Engineer immediately if any active nests are found at any time during construction of the project.

## SECTION 20.05	CLEARING

### Article 5.2  	Construction

Replace the first sentence of A.  Clearing for Multi Use Paths with the following:

Overhanging limbs shall be pruned to provide a four foot (4’) clear corridor on both sides of the pathway with a twenty foot (20’) clearance above the finished trail.

Add the following paragraph:

The Contractor shall protect migratory bird habitat in compliance with the most current version of the “Construction Advisory for Protecting Migratory Birds (pdf)” handout located at https://www.fws.gov/alaska/mbsp/mbm/index.htm.  Additionally, Contractor shall notify the Engineer immediately if any active nests are found at any time during construction of the project.

## SECTION 20.09	REMOVAL OF PAVEMENT

The following change to Article 9.2 is only to be used for projects within ARDSA that include medium to large quantities of pavement removal.

### Article 9.2  	Construction

Replace the second paragaph with:

Contractor shall keep all asphalt surfacing designated for removal free from objectionable material (concrete, steel, etc.).  Contractor shall deliver all asphalt surfacing that does not contain objectionable material to Street Maintenance.  Contractor shall coordinate exact location and time of delivery with the Maintenance & Operations Department, Street Maintenance Division, at 343-8102.  If the removed asphalt surfacing, under this Section, contains objectionable material, as identified by the Engineer, Contractor shall dispose of this asphalt surfacing in accordance with Division 10, Section 10.04, Article 4.9 – Disposal Sites.

## SECTION 20.21	CLASSIFIED FILL AND BACKFILL

### Article 21.2	Material

Add the following paragraph after the second paragraph:

Crushed waste glass (cullet) may be combined with soil-aggregate material and used in Type II or Type II-A classified fill and backfill. If glass cullet is incorporated, classified fill and backfill shall contain not more than ten percent (10%) by weight glass cullet smaller than three-eights-inch (3/8”).  Contractor shall ensure that glass cullet is uniformly blended with natural soil aggregate material prior to project delivery and placement.  Glass cullet must conform to the specifications in Subarticle G – Glass Cullet of this Article.  In addition to the normal gradation documentation for classified fill or backfill, when glass cullet is used the Contractor shall provide documentation certifying that the glass cullet (1) is comprised only of eligible types of glass, (2) does not contain prohibited materials, (3) meets debris content requirement, and (4) meets blending percentage requirement to the Engineer prior to placement of the material.

Add the following SubArticle G:

G.	Crushed Waste Glass (Cullet)

Glass cullet shall be free of prohibited or hazardous substances and the cullet shall contain no more than two percent (2.0%) debris as determined in AASHTO M318.

Eligible glass products from which glass cullet may be produced include:

- food and beverage container glass;

- plain ceramic or china dinnerware; and

- building window glass.

Prohibited glass products include:

- automobile windshields or other glass from automobiles;

- light bulbs of any type;

- porcelain products;

- laboratory glass; or

- television, computer, or other cathode ray monitor tubes.

### Article 21.3	Construction

Add the following after the last paragraph:

Contractor shall not use classified fill and backfill incorporating glass cullet:

- within four feet (4’) from the face of any embankment slope;

- within one hundred and fifty feet (150’) of any surface water body;

- in embankment areas where culvert placement is required;

- in contact with any geotextile or geosynthetic material; or

- in any soil-aggregate base or subbase courses that are not covered by surfacing material.

### Article 21.4	Measurement

Add the following after the last paragraph:

Use of glass cullet is incidental to the bid item Classified Fill and Backfill and no additional payments shall be made.

## SECTION 20.22	LEVELING COURSE

### Article 22.2	Material

Add the following paragraphs after the second paragraph:

Crushed waste glass (cullet) may be combined with soil-aggregate material and used in leveling course. If glass cullet is incorporated, leveling course shall contain not more than ten percent (10%) by weight glass cullet smaller than three-eights-inch (3/8”).  Contractor shall ensure that glass cullet is uniformly blended with natural soil aggregate material prior to project delivery and placement.  Glass cullet must conform to the specifications in Subarticle G – Glass Cullet of this Article.  In addition to the normal gradation documentation for classified fill or backfill, when glass cullet is used the Contractor shall provide documentation certifying that the glass cullet (1) is comprised only of eligible types of glass, (2) does not contain prohibited materials, (3) meets debris content requirement, and (4) meets blending percentage requirement to the Engineer prior to placement of the material.

Upon written approval by the Engineer, recycled concrete aggregate (RCA) may be substituted for leveling course, on an inch for inch basis.  RCA shall conform to this specification.

Add the following SubArticles:

D.	Crushed Waste Glass (Cullet)

Glass cullet shall be free of prohibited or hazardous substances and the cullet shall contain no more than two percent (2.0%) debris as determined in AASHTO M318.

Eligible glass products from which glass cullet may be produced include:

- food and beverage container glass;

- plain ceramic or china dinnerware; and

- building window glass.

Prohibited glass products include:

- automobile windshields or other glass from automobiles;

- light bulbs of any type;

- porcelain products;

- laboratory glass; or

- television, computer, or other cathode ray monitor tubes.

E.	Recycled Concrete Aggregate

RCA shall consist of a manufactured aggregate material and natural aggregate particles derived from the crushing, processing and classification of Portland cement concrete construction debris recovered from roadways, sidewalks, building, bridges and other sources, which conforms to AASHTO M-319 - Reclaimed Concrete Aggregate for Unbound Soil-Aggregate Base Course, and this specification. This material shall not contain deleterious substances in excess of the following amounts by mass-weight:

%,

Deleterious Material	By weight

Bituminous concrete materials	5%

Brick or concrete masonry unit block	5%

Solid waste or hazardous materials	0%

Wood, metal, plaster, gypsum	0.1%

Both Coarse and Fine Aggregate shall conform to this specification and the quality requirements from AASHTO M-147 - Materials for Aggregate and Soil-Aggregate Subbase, Base, and Surface Courses.  Additionally RCA shall have a minimum of seventy percent (70%) of particles with one or more mechanically fractured faces when the RCA is tested in accordance with AASHTO TP-61.

The Maximum Moisture Content is four percent (4.0%) for RCA.

The RCA Liquid Limit shall not exceed 35 when tested in accordance with AASHTO T-89 and the Plasticity Index of the fraction of RCA passing the No. 40 sieve shall not exceed 6 when tested in accordance with AASHTO T-90.

In accordance with ASTM 306, the percent of flat and elongated pieces in RCA shall not exceed eight percent (8%).

Restrictions to Use of Recycled Concrete Aggregate: RCA shall not be placed over a geotextile layer, gravel drain fields, drain field piping, subdrains, or open soil-lined stormwater retention or detention facilities, because soluble minerals rich in calcium salts and calcium hydroxide can be hydraulically transported from the recycled concrete aggregate.  RCA is not approved for use within five feet (5’) of metal culverts due to its high alkalinity and because recycled concrete aggregate in contact with aluminum or galvanized steel pipes can cause corrosion in the presence of moisture.

### Article 22.3	Construction

Insert the following paragraph at the end of subArticle C. Placing:

If used, any portion of the RCA which becomes segregated and/or develops zones of paste or crushed conglomerates during the distribution/compaction process shall be corrected by the Contractor. This correction process shall be conducted full depth and continue until the on-grade RCA meets this specification. The Engineer reserves the right to sample (or resample) the RCA for acceptance after it has been placed, watered and compacted.

Add the following subArticle F:

F.	Crushed Waste Glass (Cullet)

Contractor shall not use leveling course incorporating glass cullet:

- within four feet (4’) from the face of any embankment slope;

- within one hundred and fifty feet (150’) of any surface water body;

- in embankment areas where culvert placement is required;

- in contact with any geotextile or geosynthetic material; or

- in any soil-aggregate base or subbase courses that are not covered by surfacing material.

### Article 22.4	Measurement

Remove the first sentence and replace with the following:

The leveling course shall be measured in tons of materials delivered and placed in accordance with these Specifications and adjusted for excess moisture as provided.

Add the following after the last paragraph:

Use of glass cullet and/or RCA is incidental to the bid item Leveling Course and no additional payments shall be made.

# C.  	DIVISION 30	STANDARD CONSTRUCTION SPECIFICATIONS FOR PORTLAND CEMENT CONCRETE

# D.  	DIVISION 40	STANDARD CONSTRUCTION SPECIFICATIONS FOR ASPHALT SURFACING

## SECTION 40.01	GENERAL

Add the following Article:

### Article 1.7  Asphalt Price Adjustment

This provision provides a price adjustment for asphalt cement material by:

- an increase to the contract amount, or

- a deduction from the contract amount.

The provision shall apply to asphalt concrete pavement which:

- is a major bid item as defined in M.A.S.S. Division 10, Section 10.04, Article 4.5 – Increased Quantities;

- is placed in the second or later year of the contract;

- conforms to M.A.S.S. Division 40, Section 40.06 – Asphalt Concrete Pavement; and

- is paid pursuant to M.A.S.S. Division 40, Section 40.06 – Asphalt Concrete Pavement and Section 40.07 – Stone Mastic Asphalt Concrete Pavement.

This provision shall only apply to cost changes in the asphalt cement material that occurs between the date of bid opening and the date the asphalt material is incorporated into the project.

The asphalt price adjustment shall only apply when there is more than a seven and one-half percent (7.5%) increase or decrease in the Alaska Asphalt Material Price Index from the date of the bid opening to the date the asphalt material is incorporated into the project.

As used in this Article, the Alaska Asphalt Material Price Index is calculated bi-monthly on the first and third Friday of each month, and will remain in effect from the day of calculation until the next bi-monthly calculation.  The Alaska Asphalt Material Price Index is posted on the ADOT&PF’s Statewide Materials website, and is calculated according to the formula posted therein.

The Asphalt Price Adjustment (APA) payment is cumulative and is calculated with each progress payment. Asphalt material price index in effect on the last day of the pay period is used to calculate the price adjustment for asphalt cement material incorporated into the project during that pay period.  The Municipality will increase or decrease payment under this contract by the amount determined with the following asphalt cement material price adjustment formula:

APA {price increase/decrease}* = [( IPP  IB) - (0.075  IB)] Q % AC

Where,

Q =	quantity of asphalt concrete pavement incorporated into the project during the pay period, in tons, and documented by weight tickets;

IB =	Index at bid: the bi-monthly Alaska asphalt material price index in effect on date of bid, in dollars per ton;

IPP =	Index at Pay Periods:  the bi-monthly Alaska asphalt material price index in effect on the last day of the pay period, in dollars per ton; and

%AC =	percentage asphalt cement content in the asphalt concrete pavement, as determined by the average asphalt cement content in project’s asphalt concrete quality control testing.

* Note: a negative price adjustment (APA) results in a price reduction to the Contract.

Method of measurement for determining quantity, Q, is the weight of asphalt concrete pavement material that conforms to M.A.S.S. Division 40, Section 40.06 – Asphalt Concrete Pavement and is incorporated into the project.

No asphalt price adjustment will be paid based on estimated quantities.

Contingent Sum payment shall be made on the following basis:

The final asphalt price adjustment on a project is the aggregate of the price adjustments paid on a project’s respective progress pay estimates, i.e.,

APA = APA1 + APA2 + …. + APAn

Where 	n = partial payment estimate number.

# E.  	DIVISION 50	STANDARD CONSTRUCTION SPECIFICATIONS FOR Sanitary Sewers

# F. 	DIVISION 55	STANDARD CONSTRUCTION SPECIFICATIONS FOR STORM DRAIN SYSTEMS

## SECTION 55.02	FURNISH AND INSTALL PIPE

### Article 2.2	Material

Replace the second sentence of E. Polypropylene Pipe (PP) with the following:

The pipe shall meet AASHTO M330.

## SECTION 55.26	CURED IN PLACE PIPE (CIPP) LINING

### Article 26.3	Materials

Replace #1 of C.  Structural Requirements with the following:

- All pipes shall be considered fully deteriorated.

# G.  	DIVISION 60	STANDARD CONSTRUCTION SPECIFICATIONS FOR WATER SYSTEMS

# H. 	 Division 65	Standard Construction Specifications for Construction Survey

# I.  	DIVISION 70	STANDARD CONSTRUCTION SPECIFICATIONS MISCELLANEOUS

## SECTION 70.12	TRAFFIC MAINTENANCE

Amend the following Article:

### Article 12.6	Public Notice

Delete the first paragraph, inclusive of the list of local officials and transportation organizations, and replace with the following:

The Work Site Traffic Supervisor shall give notices of changes, delays, or lane/road closures to the following local officials and transportation organizations including, but not limited to:

{If necessary, insert ‘Page Break’ here to have table on single page.}

{Engineer to verify current name and telephone number.}

| 1. | Anchorage Chamber of Commerce | 272-2401 |
| --- | --- | --- |
| 2. | Alaska Travel Industry Association | 929-2842 |
| 3. | Alaska Trucking Association | 276-1149 |
| 4. | Alaska State Troopers | 428-7200 |
| 5. | Alaska Court System | 264-8232 |
| 6. | Anchorage Police Department | 786-8500 |
| 7. | Anchorage Fire Department | 267-4950 |
| 8. | Local Emergency Medical Services | 267-4950 |
| 9. | Anchorage Public Transportation | 343-8253/8386 |
| 10. | ASD Pupil Transportation | 742-1207 |
| 11. | U.S. Postal Service | 266-3261 |
| 12. | MOA Parks and Recreation |  |
| 13. | Local Schools and Universities |  |
| 14. | Volunteer Fire Departments (applicable if operating in the project area) |  |
| 15. | Local Solid Waste Utilities |  |
| 16. | Commercial Vehicle Enforcement | 365-1203 |

# J.  	DIVISION 75	STANDARD CONSTRUCTION SPECIFICATIONS FOR LANDSCAPING IMPROVEMENTS

## SECTION 75.04	SEEDING

### Article 4.3	Application

Remove the first paragraph of A. Soil Preparation and replace with the following:

After grading of areas has been completed in conformity with the lines and grades shown on the Drawings, and before beginning seeding operations, the areas to be seeded shall be cultivated to provide a reasonably firm but friable seedbed. Cultivation shall be carried to a depth of two inches (2”). On slopes steeper than 3:1, depth of cultivation may be reduced as directed by the Engineer. All areas to be cultivated shall be raked or cleared of stones (one inch [1”] in diameter and larger), weeds, plant growth, sticks, stumps, and other debris or irregularities which might interfere with the seeding operation, germination of seed, or subsequent maintenance of the seed-covered areas. Cultivation shall include the entire ground surface, regardless of existing ground cover. Contractor may be required to track-walk slopes 2:1 or over as directed in the Drawings or by the Engineer. Prior to seeding application, site inspection by the Engineer is required to confirm that preparation conditions are satisfactory for the seeding work to proceed.

## SECTION 75.05	SOD

### Article 5.5	Measurement

Remove the first paragraph and replace with the following:

Sod shall be measured per 1,000 square feet and shall be placed in all areas disturbed by construction, or as directed by the Engineer. The sod bid item shall include all labor and material, including all cultivating, materials, limestone, if required, and fertilizer. Seventy percent (70%) of sod bid item shall be measured as quantity of sod installed as specified. The remaining thirty percent (30%) of sod shall be measured as maintenance performed during the Plant Establishment Period and Landscaping Acceptance in the condition identified in Article 5.4 of this Section. Payment process and exceptions are identified in Article 5.6 below and in Division 10, Section 7.7-Final Payments.

### Article 5.6	Basis of Payment

Remove the first paragraph and replace with the following:

Payment of this Work shall be in accordance with Division 10, Section 10.07- Measurement and Payment, and shall include full payment for all Work described in this Section.

Payment for sod includes payment for maintenance during the Plant Establishment Period. Owner will pay the accepted quantity of sod after the Acceptance of Initial Planting Operations, based on seventy percent (70%) of the Contract unit price for sod. The remaining thirty percent (30%) for the maintenance of sod during the Plant Establishment Period shall be paid upon Landscaping Acceptance except as noted below.

If Contractor did not perform maintenance in accordance with Article 5.4-Maintenance, the remaining thirty percent (30%) shall not be paid.

If damaged sod areas are not repaired or replaced as required within fourteen (14) days of written notice, the Engineer may replace or have replaced the damaged items and deduct the cost of said repair or replacement work from the remaining payments. The cost of said repair or replacement work is based on receipts for replacement sod and ten percent (10%) administrative markup.

Add the following Section:

## SECTION 75.12 MOOSE PROTECTION FENCE

### Article 12.1 	General

Work under this Section includes all equipment, labor, and transportation necessary to furnish, install, and remove Moose Protection Fencing as specified herein. Moose Protection Fencing is required around all new individual deciduous trees and/or deciduous tree groupings. Moose Protection Fences are to be removed at the completion of the plant establishment period, unless otherwise directed by the Engineer. The Engineer may notify the Contractor about damages to the Moose Protection Fencing, in which case the repairs shall be made within two (2) working days. The Contractor shall repair and replace all materials damaged or destroyed within the scope of the Work, regardless of cause.

Tree Protection Zone (TPZ): Tree Protection Zones shall be per Section 75.02

### Article 12.2 	Materials

- Fabric: 1”x2” welded wire mesh. Min. 14-gauge wire diameter.

- Steel T-Posts: 9’ height, green steel T-posts with pointing.

### Article 12.3 	Construction

Workmanship and Procedure: Moose protection fencing shall be erected immediately following the tree installation. The moose protection fencing shall be placed at the outside edges of individual deciduous trees and/or deciduous tree groupings. All deciduous trees shall be enclosed within the fending without damaging branches or allowing branches to protrude. The fencing shall remain in place during the duration of the Work and shall be removed at the end of the Plant Establishment Period.

### Article 12.4	Measurement

Measurement for Moose Protection Fencing shall be by the linear foot.

### Article 12.5 	Basis of Payment

Payment for this Work shall be in accordance with Division10, Section 10.07 – Measurement and Payment, and shall include full payment for all Work described in this Section.

Payment shall be made under the following unit:

ITEM	UNIT

Moose Protection Fencing	Linear Foot

# K.  	DIVISION 80	STANDARD CONSTRUCTION SPECIFICATIONS FOR INSTALLATION AND REMOVAL OF TRAFFIC SIGNALS AND ILLUMINATION

END OF SPECIAL PROVISIONS

MUNICIPALITY OF ANCHORAGE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

III

SUBMITTAL LIST

PROJECT NAME

PROJECT LIMITS

XX-XX

SUBMITTAL LIST

Job #:	____________________________	Contractor:  ______________________

| Submittal Number | Rev. | Description |
| --- | --- | --- |
| 10.04.9 |  | Private Property Disposal Site Permission; Fill Permit |
| 10.04.12 |  | Property Owner 48-Hour Closure Notice |
| 10.04.13 |  | Street Closures; Traffic Control Plan |
| 10.04.15 |  | Temporary Erosion and Sediment Control Plan |
| 10.04.17 |  | Utility Notification Verification |
| 10.04.17 |  | Pre-Construction Utility Inspection Report |
| 10.04.17 |  | Post-Construction Utility Inspection Report |
| 10.04.19 |  | Record Drawings |
| 10.04.20 |  | Operating and Maintenance Manuals |
| 10.05.3 |  | Construction Progress Schedule |
| 10.05.3 |  | Schedule of Values |
| 10.05.4 |  | Notice of Unusual Working Hours |
| 10.05.7 |  | Proposed Substitutions |
| 10.05.9 |  | Contractor’s Authorized Representatives and Employees |
| 10.05.10 |  | Subcontractor’s List |
| 10.05.31 |  | Winter Suspension Plan |
| 10.06.6 |  | Contractor Obtained Permits (ROW, Noise, Electrical, Dewatering, etc.) |
| 10.06.9 |  | Certificate of Insurance |
| 10.06.12 |  | Certified Payroll |
| 10.07.1 |  | Material Weight Tickets |
| 10.07.7 |  | ADOL Notification of Compliance |
| 10.07.7 |  | Notarized Certificate of Compliance |
| 20.02.4 |  | Storm Water Pollution Prevention Plan (SWPPP) |
| 20.02.4 |  | eNOI |
| 20.02.14 |  | eNOT and Final SWPPP |
| 20.02.16 |  | SWPPP Inspection Reports |
| 20.10.7 |  | Survey Cross-Section Measurement - Usable and Unusable Excavation |
| 20.12.2 |  | Dewatering Plan |
| 20.27.4 |  | Survey Cross-Section Measurement - Trench Excavation Disposal of Unusable or Surplus Material |
| 20.13.2 |  | Trench Excavation Notice to Engineer and AWWU. |
| 20.29 |  | Work Plan for Pipe Casing Installation |
| 20.30 |  | Trench Sheeting/Shoring Submittal |
| 30.01.9 |  | Concrete Temperature Maintenance Procedure Proposal |
| 40.02.2 |  | Certified Analysis of Asphalt for Seal Coat from Refining Laboratory |
| 40.04.2 |  | Certified Analysis of Asphalt for Tack Coat from Refining Laboratory |
| 40.04.3 |  | Tack Coat Test Strip and Notification |
| 40.05.2 |  | Certified Analysis of Asphalt for Crack and Joint Sealant From Laboratory |
| 40.06.2 |  | Certified Analysis of Asphalt for A.C. Pavement from Refining Laboratory |
| 40.06.3 |  | Asphalt Job Mix Formula for A.C. Pavement |
| 40.06.4 |  | Contractor’s Certificate of Compliance for bituminous paver segregation mechanism installation |
| 40.06.5 |  | Paving Plan |
| 40.07.2 |  | Permanent Asphalt Speed Hump Cross Section Template |
| 40.09.2 |  | Certified Analysis of Asphalt for Bituminous Surface Treatment from Refining Laboratory |
| 50.02.2 |  | Sanitary Sewer Pipe and Fittings Submittal |
| 50.03.2 |  | Sanitary Sewer Concrete Structures Submittal |
| 50.04.2 |  | Sanitary Sewer Pipe Connections and Extensions Submittal |
| 50.05.2 |  | Sanitary Sewer Flow Control Submittal |
| 50.06.2 |  | Sanitary Sewer Existing Manhole Modifications Submittal |
| 50.07.2 |  | Sanitary Sewer CCTV Inspection Submittal |
| 50.08.2 |  | Work Plan for Removal and Disposal of Existing Cesspools or Septic Tanks |
| 55.02.3 |  | Storm Drain Watertight Pipe Low Pressure Air Test |
| 55.02.3 |  | Storm Drain New Pipe CCTV Inspection Submittal |
| 55.23.3 |  | Heat Trace System Submittal |
| 55.23.4 |  | Heat Trace System Warranties, Guarantees, and Inspection Sheets |
| 55.24.2 |  | Storm Drain Pipe Pre-lining CCTV Inspection Submittal |
| 55.25.2 |  | Cured In Place Pipe (CIPP) Lining Submittal |
| 55.24.4 |  | Storm Drain Pipe Post-lining CCTV Inspection Submittal |
| 60.02.2 |  | Water Pipe Submittals |
| 60.02.5 |  | Flushing and Testing Work Plan and Schedule |
| 60.03.2 |  | Water Valve Submittals |
| 60.04.2 |  | Fire Hydrant Submittals |
| 60.05.2 |  | Water Service Line Submittals |
| 60.06.2 |  | Galvanic Anode Submittals |
| 60.07.2 |  | Temporary Water Plan |
| 60.08.2 |  | Decommissioning Water System Plan |
| 65.02.2 |  | Survey Field Notes |
| 65.02.3 |  | Party Chief's Daily Diary |
| 65.02.5 |  | Survey Cross Sections |
| 65.02.5 |  | Notification Prior to Cross Section Work |
| 65.02.13 |  | Survey Electronic Data |
| 65.02.16 |  | Survey Quantity Measurements (Clearing, Clearing & Grubbing, Pavement Removal, Pavement Rotomilling, Pavement Reclamation, Road Excavation, Trench Excavation, Topsoil, Seeding, and other areas of misc. final surfacing application such as asphalt, concrete, RAP, etc. which are measured in SF or SY) |
| 70.10.3 |  | Manufacturer’s Recommendations for Application of Methyl Methacrylate Traffic Markings |
| 70.12.2 |  | Traffic Control Plan (TCP) |
| 70.12.4 |  | Identify Work Site Traffic Supervisor/Telephone Number |
| 70.12.6 |  | Proof of Public Notice |
| 75.02.2 |  | Plant Schedule |
| 75.02.3 |  | Notification 5 Working Days Prior to Plant Delivery |
| 75.02.3 |  | Identify Tree Protection Zone |
| 75.02.4 |  | Landscape Maintenance Schedule |
| 75.02.4 |  | Landscaping Watering Schedule |
| 75.03.2 |  | Topsoil Analysis Test Reports |
| 75.04.2 |  | Seed Certification Tag |
| 75.05.1 |  | Sod Submittal |
| 80.01.3 |  | Electrical Equipment and Materials Submittal |
| 80.01.3 |  | Record Drawings |
| 80.01.4 |  | Manufacturers’ Warranties, Guarantees and Instruction Sheets |
| 80.01.5 |  | Traffic Signal Maintenance Name and Telephone Number |
| 80.05.1 |  | Wind Stress Certification Submittal |
| 80.17.2 |  | Controller Unit Documentation |
| 80.17.7 |  | Controller Unit, Aux. Equipment, and Cabinet Submittal |
| 80.18 |  | Loop Detector Test Reports |
| 80.23.2 |  | Luminaire Lens Certified Compliance |
| 80.25 |  | Falsework Lighting Submittal |

NOTE:	The above list of submittals is not all inclusive.  In addition to the above, the Contractor is required to comply with all submittal requirements as required or identified in the plans, specifications, M.A.S.S., or as directed by the Engineer.

PROJECT NAME

PROJECT LIMITS

XX-XX

#### SUBMITTAL LIST

Job #:	____________________________	Contractor:  ______________________

| Submittal Number | Rev. | Description |
| --- | --- | --- |

NOTE:	The above list of submittals is not all-inclusive.  In addition to the above, the Contractor is required to comply with all submittal requirements as required or identified in the plans, specifications, M.A.S.S., or as directed by the Engineer.

MUNICIPALITY OF ANCHORAGE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

IV

special details

MUNICIPALITY OF ANCHORAGE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

V

SOILS INFORMATION

MUNICIPALITY OF ANCHORAGE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

VI

TEMPORARY CONSTRUCTION PERMITS AND EASEMENTS

MUNICIPALITY OF ANCHORAGE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

VII

EQUAL EMPLOYMENT OPPORTUNITY SPECIAL PROVISIONS

CONTRACT COMPLIANCE SPECIFICATIONS

EQUAL EMPLOYMENT OPPORTUNITY

SPECIAL PROVISIONS

Every municipal contract shall include language substantially the same as the following:  The contractor will not discriminate against any employee or applicant for employment because of race, color, religion, national origin, ancestry, age, sex, sexual orientation, gender identity, marital status, or physical or mental disability.  The contract will comply with all laws concerning the prohibition of discrimination including, but not limited to, Title 5 and Title 7 of the Anchorage Municipal Code.

Every municipal contract shall state, in all solicitations or advertisements for employees to work under the contract, that all qualified applicants will receive consideration for employment without regard to race, color, religion, national origin, ancestry, age, sex, sexual orientation, gender identity, marital status, or physical or mental disability.

MUNICIPALITY OF ANCHORAGE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

VIII

MINIMUM RATES OF PAY

Laborers’ & Mechanics’ Minimum Rates of Pay

Title 36. Public Contracts AS 36.05 & AS 36.10 Wage & Hour Administration Pamphlet No. 600 (Pamphlet 600) is hereby incorporated in its entirety.  Pamphlet 600 is available for free download at http://labor.state.ak.us/lss/pamp600.htm.

The Municipality of Anchorage will include a paper copy of the wage rates in the signed Contract.

MUNICIPALITY OF ANCHORAGE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

IX

CONTRACT

MUNICIPALITY OF ANCHORAGE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

X

CONTRACT PERFORMANCE AND PAYMENT BOND

CONTRACT PERFORMANCE AND PAYMENT BOND

KNOW ALL MEN BY THESE PRESENTS, That we ___________________________________

________________________________ of __________________________________________

as Principal, and _______________________________________________________________

a corporation organized under the laws of the ________________________________________

________________________________________ and authorized to transact surety business in the State of Alaska, of ___________________________________________________________

as Surety, are held and firmly bound unto the MUNICIPALITY OF ANCHORAGE, as Obligee, in the full and just sum of __________________________________________________________

($___________________________________) Dollars, lawful money of the UNITED STATES, for the payment which, well and truly to be made, we bind ourselves, our heirs, executors, administrators, successors and assigns, jointly and severally, firmly by these presents.

THE CONDITIONS OF THIS OBLIGATION IS SUCH, that whereas the principal has entered into a certain contract dated the ______________________ date of ____________ 20____________, with the Obligee for the construction of _______________________________

_____________________________________________________________________________

which contract is hereby referred to and made a part hereof as fully and to the same extent as if copied at length herein.

NOW THEREFORE, if the Principal shall well and truly perform and fulfill all the undertakings, covenants, terms, conditions, and agreements of said contract, and shall promptly make payments to all persons supplying labor and material in the prosecution of the work provided for in said contract, during the original term of said contract and any extensions or modifications thereof that may be granted by the Municipality, with or without notice to the Surety, then this obligation to be void; otherwise to remain in full force and effect.

This obligation is made for the use of said Obligee and also for use and benefit of all persons who may perform any work or labor or furnish any material in the execution of said Contract and may be sued on thereby in the name of said Obligee.

The said Surety, for the value received, hereby stipulates and agrees that no change, extension of time, alteration or addition to the terms of the contract or to the work to be performed thereunder or the specifications accompanying the same, shall in anywise affect its obligations on this bond, and it does hereby waive notice of any such change, extension of time, alteration or addition to the terms of the contract or to the work or to the specifications.

Whenever Principal shall be, and declared by Obligee to be in default under the Contract the Obligee having performed Obligee’s obligations thereunder, the Surety may promptly remedy the default or shall promptly:

1.	Complete the Contract in accordance with its terms and conditions, or

2.	Obtain a bid or bids for submission to Obligee for completing the Contract in accordance with its terms and conditions and upon determination by Surety of the lowest responsible bidder, or, if the Obligee elects, upon determination by Obligee and the Surety jointly of the lowest responsible bidder, arrange for a contract between such bidder and Obligee and make available as Work progresses (even though there should be a default or a succession of defaults under the contract or contracts of completion arranged under this paragraph) sufficient funds to pay the cost of completion less the balance of the contract price but not exceeding, including other costs and damages for which the Surety may be liable hereunder the amount set forth in the first paragraph hereof.  The term “balance of the contract price” as used in this paragraph, shall mean the total amount payable by Obligee to Principal under the Contract and any amendments thereto, less the amount properly paid by Obligee to Principal.

IN TESTIMONY WHEREOF, the parties hereunto have caused the execution hereof in ________

________________ original counterparts as of the __________________ day of ____________,

20_________.

WITNESS AS TO PRINCIPAL:

_________________________________			________________________________

Principal Name

___________________________

Principal Signature

___________________________

Corporate Surety

(AFFIX CORPORATE SEAL)

___________________________

___________________________

Surety Business Address

BY:	___________________________

(Attorney-In-Fact)

(AFFIX SURETY SEAL)

MUNICIPALITY OF ANCHORAGE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

XI

CERTIFICATE OF INSURANCE

MUNICIPALITY OF ANCHORAGE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

XII

BID BOND

MUNICIPALITY OF ANCHORAGE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

XIII

BIDDER’S CHECKLIST & RESPONSIBLE BIDDER QUESTIONNAIRE

BIDDER’S CHECKLIST

INSTRUCTIONS TO BIDDER

I.	General

Bidders are advised that, notwithstanding any instructions or implications elsewhere in this Invitation to Bid, only the documents shown and detailed on this sheet need be submitted with and made part of their bid.  Other documents may be required to be submitted after bid time, but prior to award.  Bidders are hereby advised that failure to submit the documents shown and detailed on this sheet shall be justification for rendering the bid nonresponsive.  Evaluation of bids for responsiveness shall be accomplished in accordance with Anchorage Municipal Code, Title 7.

II.	REQUIRED DOCUMENTS FOR BID:

NOTE:	Only the following listed items as marked with an “X” are required to be completely filled out and submitted with the bid.

X    	Bid proposal consisting of pages BP-      through BP-     .  BPs-      and BP-      must be manually signed.

X    	Erasures or other changes made to the Bid Proposal Sheet must be initialed by the person signing the bid.

Two identical sets of descriptive literature, brochures, and/or data must accompany the bid where specifically requested or when in support of an “or equal” offer.

X    	Bid bond, certified check, cashiers check, money order or cash shall be submitted with the bid in the amount indicated.

X    	All Addenda issued shall be acknowledged in the space provided on the Bid Proposal sheet or by manually signing the Addenda sheet and submitting it prior to the bid opening in accordance with Anchorage Municipal Code 7.20.020C.

Disadvantaged and Women-Owned Business Enterprises, Form 10-029

Others

MUNICIPALITY OF ANCHORAGE

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

XIV

BID PROPOSAL

BID PROPOSAL

(CERTIFICATION)

TO:	MUNICIPALITY OF ANCHORAGE				, 2021

PURCHASING DEPARTMENT

632 W. 6TH AVENUE, SUITE 520

ANCHORAGE, ALASKA 99501

SUBJECT:	Invitation to Bid No. 2021C

PROJECT TITLE:

Pursuant to and in compliance with subject Invitation to Bid, and other bid documents relating thereto, the bidder hereby proposes to furnish all labor and materials and to perform all work for the construction of the above referenced project in strict accordance with the bid documents at the prices established in the Bid Proposal, pages BP-XX of YY through BP-ZZ of YY submitted herewith.

The bidder agrees, if awarded the contract, to commence and complete the work within the time specified in the bid documents.

The bidder acknowledges receipt of the following addenda:

Addenda No.				Date of Addenda

Addenda No.				Date of Addenda

Addenda No.				Date of Addenda

Enclosed is a Bid Bond in the amount of 		.

(Dollar Amount or Percentage of Bid)

Type of Business Organization

The bidder, by checking the applicable box, represents that it operates as (  ) a corporation incorporated under the laws of the State of 	, (  ) an individual, (  ) an LLC, (  ) a partnership, (  ) a nonprofit organization, or (  ) a joint venture.  If a partnership or joint venture, identify all parties on a separate page.

Company Name

BID PROPOSAL

(CERTIFICATION)

Continued

SUBJECT:	Invitation to Bid No.

PROJECT TITLE:

Date						Alaska Contractor’s License Number

Company Name (Printed)					Employer’s Tax Identification Number

Authorized Representative Signature					Printed Name & Title

Company Mailing Address						Company Phone Number

City, State, Zip Code							Company Fax Number

Company Email Address

Company Physical Address

(if different from mailing address)

City, State, Zip Code

| SCHEDULE A – Basic Bid SAMPLE |
| --- |
| ITEM | SPEC. | WORK DESCRIPTION |  | EST | UNIT BID | TOTAL BID |
| NO. | NO. | (UNIT PRICE IN WORDS) |  | QTY | PRICE | PRICE |
| A-1 | 20.02 | Storm Water Pollution Prevention Plan (Type 3) | per S.Y. | 1 |  |  |
| A-2 | 95.04 20.09 | Remove Speed Hump | per Each | 2 |  |  |
| A-3 | 20.10 | Unusable Excavation | per C.Y. | 2,550 |  |  |
| A-4 | 95.04 70.12 | Traffic Maintenance | per L.S. | 1 |  |  |
| A-5 | 75.03 | Topsoil (4") | per MSF | 5.2 |  |  |
| A-6 | 75.04 | Seed (Schedule A) | per MSF | 5.2 |  |  |
|  |  |  | Schedule A Total: |  |  |
|  |  | Contractor |  |  | Date |  |

MUNICIPALITY OF ANCHORAGE

PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME

PROJECT LIMITS

XX-XX

XV

PLANS (XX SHEETS)

Suggested organization of Plan Set}

| Sheet 1 | Cover Sheet |
| --- | --- |
| Sheet 2 | Key Map and Legend |
| Sheet 3 | Survey Control Sheet |
| Sheet 4 | Demolition Plan |
| Sheet 5 | Street Improvement Plan |
| Sheet 6 | Street Improvement Plan |
| Sheet 7 | Storm Drain Improvements |
| Sheet 8 | Sanitary Sewer Improvements |
| Sheet 9 | Water Improvements |
| Sheet 10 | Details |
| Sheet 11 | Curb Ramp Details |
| Sheet 12 | Illumination Plan |
| Sheet 13 | Striping Plan |
| Sheet 14 | Signing Plan (may be combined with striping plan) |
| Sheet 15 | Sign Installation and Pavement Marking Detail Sheet |
| Sheet 16 | ML&P Vault and Duct System |
| Sheet 17 |  |
| Sheet 18 |  |
| Sheet 19 |  |
| Sheet 20 |  |
| Sheet 21 |  |
| Sheet 22 |  |