	[image: image2.wmf] 


	MUNICIPALITY OF ANCHORAGE

Project Management and Engineering Department
	[image: image3.wmf] 




MEMORANDUM

DATE:
5/09/2025
TO:
Requestor

SUBJECT:
PM&E ‘Collection’ Special Provisions for Project Manual Document

Attached is a collection of special provisions that have been compiled from PM&E’s projects over the past few years. The intent is to include ‘special provisions’ that have the potential for re-use and may require some modifications.

These special provisions are to be used with the 2024 M.A.S.S. only.

This collection of special provisions are not ‘standard’ special provisions and should not be used as such.

Not all of these special provisions are applicable on all projects. Not all of these special provisions are applicable in their current wording. 

It is the engineer’s responsibility to determine the applicability of the special provision(s) used, as well as final wording.  Most of these special provisions were developed based on project-specific requirements.  Please re-read the second paragraph, above.

Should you have questions, comments, or suggested revisions, please feel free to contact Brandon Telford at 343-8145 or email massupdate@muni.org.
Summary of Modifications
	Date
	Modification

	3/22/12
	Updated to Rev 2 language – removed everything inserted into Rev 2.

	5/31/2012
	Added Glass Cullet specials to 20.21 and 20.22; updated insurance form & 10.6.9 language

	6/5/12
	Modified Minimum Rates of Pay language

	6/6/12
	Added Sample Bid Proposal pages to show how the column spacing should be set up so the pages are actually usable.

	9/10/12
	Added Recycled Concrete as an alternative to Leveling Course

	3/21/13
	Updated for Rev 3

	4/1/13
	Updated Contact information 

	5/10/13
	Updated DOL language and Bid Proposal Signature information

	7/9/13
	Updated Project Information Sign information & Day Labor Article #

	2/21/14
	Updated Contract dates and Bid Proposal Signature Page

	3/28/14
	Added language re: Profit & Overhead markup on Sub invoices

	7/10/14
	Added Line in Footer (left side) of BP pages for Contractor Name

	8/12/14
	Updated Utility Contact info in 10.4.17 Utilities

	2/27/15
	Updated for the 2015 MASS release.  Removed SPs that were inserted into MASS.

	3/25/15
	Updated ML&P contact info.  Fixed typos in the BPs.

	1/6/16
	Fixed years in boilerplate contract; Updated Contact info in 10.4.17

	2/22/16
	Deleted PW; PM&E Div to Dept; Updated 10.4.7 again; Submittal List 

	3/21/16
	Added CEA and ENSTAR construction requirement links to 4.17

	6/27/16
	Added Final Rule for PHMSA link for ENSTAR requirements

	7/8/16
	Deleted Spenard Fence & other extra crap at the end.

	3/29/17
	Updated 2016 to 2017 & misc other mods to Sample Contract; published BP Excel samples (get them from the website)

	4/14/17
	Added “bird window” language to 20.04, 20.05, 20.06

	1/31/18
	Updated 2017 to 2018; added delineators to 10.4.8 and 10.5.31; changed “partially” to “fully” deteriorated pipe in 55.26; AASHTO MP-21 to AASHTO M330 in Div 55; updated Trail Clearing spec 20.05.

	4/9/18
	Updated OEO language and Bid Bond sheet

	1/24/19
	Updated to 2019 and added new Sample Contract

	1/8/21
	Updated Contact Information, 2021, added language to 10.04, modified Pavement Disposal note to reflect St. Maint wanting pavement.

	4/1/22
	Updated Contact Information; Fixed formatting issues; Modified 95.01; Updated project sign requirements in 10.4.22; Added 20.09 Removal of Pavement; Modified 20.04 and 20.06; Added 75.04 Seeding, 75.05 Sod, and 75.12 Moose Protection Fence.

	5/26/23
	Updated Contact Info; Fixed formatting issues; Added 30.01 thru 30.04, 30.09, 40.07 and Details 30-8A&B, 30-9, 30-16, and 40-4 thru 40-6. 

	4/22/24
	Removed special provisions that have been incorporated into the MASS 2024 Update.  Revised Section 95.03 Time of Completion provision.

	2/07/25
	Revisions to allow for electronic submission of bids/proposals; Updated Section 95.02, Sample Contract form, Contract Performance & Payment Bond form, and Bid Bond form; Revisions to Sections 30.02, 30.11 & 30.12; Added special detail for correction to MASS Standard Detail 30-1.

	5/09/25
	Updated to include Section V Soils Information


1-21-04  Add the following Watermarks to draft specs at each revision stage - per MJS.  (rmb)

Version 1:

Preliminary Submittal Not For Construction + Date

Version 2:

Final Submittal Not For Construction + Date

Version 3:

100% Submittal Not For Construction + Date


don’t forget to add watermark

PROJECT NAME
PROJECT LIMITS
XX-XX
Invitation to Bid No.       
	PROJECT MANUAL




Municipality of Anchorage

Project Management and Engineering Department
4700 Elmore Road
Anchorage, Alaska  99507

MUNICIPALITY OF ANCHORAGE
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME 
XX-XX
MASTER INDEX

	I.
	
	INVITATION TO BID

	II.
	
	SPECIAL PROVISIONS

	III.
	
	SUBMITTAL LIST

	IV.
	
	SPECIAL DETAILS

	V.
	
	SOILS INFORMATION

	VI.
	
	TEMPORARY CONSTRUCTION PERMITS AND EASEMENTS

	VII.
	
	EQUAL EMPLOYMENT OPPORTUNITY SPECIAL PROVISIONS

	VIII.
	
	MINIMUM RATES OF PAY

	IX.
	
	CONTRACT

	X.
	
	CONTRACT PERFORMANCE AND PAYMENT BOND

	XI.
	
	CERTIFICATE OF INSURANCE

	XII.
	
	BID BOND

	XIII.
	
	BIDDER’S CHECKLIST & RESPONSIBLE BIDDER QUESTIONNAIRE

	XIV.
	
	BID PROPOSAL

	XV.
	
	PLANS (___ SHEETS)


MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT
PROJECT NAME 
PROJECT LIMITS

XX-XX
I

INVITATION TO BID

MUNICIPALITY OF ANCHORAGE

PURCHASING DEPARTMENT

Invitation to Bid

No. 20XXC
Paper bids must be submitted on the bid form furnished. Paper bids must be completed in ink or by typewriter and must be manually signed by an authorized person. If erasures or other changes appear on the forms, the person signing the bid must initial each erasure or change in ink.

Electronic bids may be submitted by following the submission process through BidExpress.com. All bidders planning to submit bids electronically must first register on BidExpress.com and create an Info Tech Digital ID, which is used to digitally sign bids. 
If submitting a paper bid, one complete set of the bid package (which shall include the Bid Form, bid schedule, and any other required documents, if applicable) shall be completely sealed in an envelope clearly marked with the Bidder’s company name and the following: <our ITB details>.  Sealed bids will be received in accordance with the time schedule shown below by the Municipality of Anchorage at the Purchasing Department, 632 W. 6th Avenue, Suite 520; Anchorage, Alaska, 99501, for:

Project name
consisting of approximately _____ S.Y. of Sidewalk and Concrete Apron Removal and Replacement; _____ S.Y. of Curb Ramps; _____ L.F. of Curb and Gutter Removal and Replacement; _____ Tons of A.C. Pavement; _____ S.Y. of Pavement Removal; _____ Catch Basins; _____ Storm Drain Manhole; _____ L.F. of Storm Pipe Removal and Replacement; and other related work.

ESTIMATED CONSTRUCTION COST:  Between $1,000,000 and $3,000,000

	Site Visit(s) at
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	Pre-Bid Conference at
	
	

	
	
	

	REQUEST ANY QUESTIONS BE SUBMITTED IN WRITING TO WWPUR@MUNI.ORG., BEFORE THE PRE-BID CONFERENCE.  Please reference the Project Title and Invitation to Bid No. 20XXC


	Bids Opened at
	
	

	
	
	

	
	
	

	Post-Bid Conference at
	
	


An electronic (.pdf) copy of the Invitation to Bid is available at Municipality of Anchorage, Purchasing Office’s website; (http://purchasing.muni.org).  Should you choose to obtain a copy of the Invitation to Bid from the website; it is your responsibility to periodically check the website for addenda.

At the above-indicated time, the bids will be opened publicly and read.  Bids must be received by the Purchasing Officer prior to the time fixed for opening of the bids to be considered.  Time of receipt will be as determined by the time stamp in the Purchasing Office, Suite 520.

Drawings, specifications, and contract documents may be examined and will be available for pickup at 632 W. 6th Avenue, Suite 520; Anchorage, Alaska; Monday through Friday, 8 a.m. until 12 noon and 1 p.m. until 5 p.m.  These documents are available for sale on a non-refundable basis at $
 per set (cash or check only).

Fees stated above include parcel post charges (1st class mail).  Should expedited handling be desired, Federal Express or equivalent service will be utilized on a reverse billing basis only.

The Municipality of Anchorage reserves the right to reject any and all bids and to waive any informalities in the bids.  No bidder may withdraw his bid after the hour set for the opening of bids or before the Award of Contract unless said award is delayed for a period exceeding forty-five (45) days from the time of the opening.

The Municipality shall not be responsible for bid preparation costs, nor for costs, including attorney fees, associated with any (administrative, judicial, or otherwise) challenge to the determination of the lowest responsive and responsible bidder and/or award of contract, and/or rejection of bids.  By submitting a bid, each bidder agrees to be bound in this respect and waives all claims to such costs and fees.

Contracts shall be awarded by written notice issued by the Purchasing Officer to the lowest responsive and responsible bidder; however, preference will be given to local bidders in compliance with Anchorage Municipal Code, Section 7.20.040.

A pre-bid conference will be held at the above-indicated time in the Purchasing Office for the purpose of answering any questions bidders may have and to consider any suggestions they may wish to make.  Any changes resulting from this conference will be made by Addendum immediately following the conference.  This conference is held for the benefit of the bidders.  It is requested that some person of authority from the office of the prospective bidder attend this meeting.

The Municipality of Anchorage assumes no responsibility for any interpretations or presentations made by any of its officers or agents unless such interpretations or presentations are made by written addendum to this Invitation to Bid.

Bonding requirements are per M.A.S.S.B./M.A.S.S. or as per Special Provisions.

PUBLISH ONE TIME

Date









Chris Hunter 






Purchasing Director
MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME
PROJECT LIMITS
XX-XX
II

SPECIAL PROVISIONS

Insert appropriate engineers’ stamps in footer.   Engineer stamps are located in the PF\Templates\ PE Seal folder.

USE PASTE SPECIAL AND PASTE AS A PICTURE

MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT
PROJECT NAME
PROJECT LIMITS

XX-XX
INDEX TO SPECIAL PROVISIONS

PAGE

1SECTION 95.01
LOCATION AND SCOPE

SECTION 95.02
REFERENCE TO MUNICIPALITY OF ANCHORAGE STANDARD SPECIFICATIONS
1
SECTION 95.03
TIME OF COMPLETION
2
SECTION 95.04
MODIFICATIONS AND/OR ADDITIONS TO MUNICIPALITY OF ANCHORAGE standard SPECIFICATIONS
2
A.  
DIVISION 10 STANDARD GENERAL PROVISIONS
2
SECTION 10.00
ALL APPLICABLE M.A.S.S. ARTICLES
2
SECTION 10.02
BIDDING REQUIREMENTS AND CONDITIONS
2
Article 2.3
Preparation and Submission of Bids
2
SECTION 10.03
AWARD AND EXECUTION OF CONTRACT
2
Article 3.2
Receipt and Opening of Bids
2
SECTION 10.04
SCOPE OF WORK
2
Article 4.8
Work Incidental to the Contract
3
Article 4.17
Utilities
3
Article 4.22
Project Information Signs
4
Article 4.23
Work Order Issued Under “Day Labor” Type Contracts
4
SECTION 10.05
CONTROL OF WORK
4
Article 5.27
Liquidated Damages
4
SECTION 10.07
MEASUREMENT AND PAYMENT
5
Article 7.0
Payments to Contractors and Subcontractors
5
B.  
DIVISION 20 STANDARD CONSTRUCTION SPECIFICATIONS FOR EARTHWORK
5
SECTION 20.09
REMOVAL OF PAVEMENT
5
Article 9.2  
Construction
5
C.  
DIVISION 30 STANDARD CONSTRUCTION SPECIFICATIONS FOR PORTLAND CEMENT CONCRETE
5
SECTION 30.02
PORTLAND CEMENT CONCRETE, CURB AND GUTTER AND VALLEY GUTTER
5
Article 2.3  
Construction
5
SECTION 30.11
SIDEWALK JOINT SEALANT
6
Article 11.2  
Materials
6
SECTION 30.12
HIGH-PERFORMANCE CONCRETE
6
Article 12.2  
Materials
6
D.  
DIVISION 40 STANDARD CONSTRUCTION SPECIFICATIONS FOR ASPHALT SURFACING
6
E.  
DIVISION 50 STANDARD CONSTRUCTION SPECIFICATIONS FOR Sanitary Sewers
6
F. 
DIVISION 55 STANDARD CONSTRUCTION SPECIFICATIONS FOR STORM DRAIN SYSTEMS
6
SECTION 55.26
CURED IN PLACE PIPE (CIPP) LINING
6
Article 26.3
Materials
6
G.  
DIVISION 60 STANDARD CONSTRUCTION SPECIFICATIONS FOR WATER SYSTEMS
6
H. 
 Division 65 Standard Construction Specifications for Construction Survey
6
I.  
DIVISION 70 STANDARD CONSTRUCTION SPECIFICATIONS MISCELLANEOUS
6
J.  
DIVISION 75 STANDARD CONSTRUCTION SPECIFICATIONS FOR LANDSCAPING IMPROVEMENTS
7
K.  
DIVISION 80 STANDARD CONSTRUCTION SPECIFICATIONS FOR TRAFFIC SIGNALS AND ILLUMINATION
7
L.  
DIVISION 85 STANDARD CONSTRUCTION SPECIFICATIONS FOR TRAFFIC CONTROL DEVICES
7
SECTION 85.05
TRAFFIC MAINTENANCE
7
Article 5.6
Public Notice
7



MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT
PROJECT NAME
PROJECT LIMITS

XX-XX
SPECIAL PROVISIONS

SECTION 95.01
LOCATION AND SCOPE


All proposed Work is located within the Municipality of Anchorage corporate limits and is more particularly located on the design drawings.  The Work included under this Contract consists of furnishing all labor, materials, equipment, supervision, and other facilities necessary to successfully complete the Work set forth in the Drawings and Specifications.  The Work included under this Contract consists of, but is not limited to:

It is the responsibility of the bidder to prepare the bid so that all materials and/or fittings shall harmoniously conform to the intent of the Contract Drawings, Specifications, and Special Provisions.

Below are the schedules of Work that are presented in the Bid Proposal of this Contract:

	SCHEDULE
	DESCRIPTION

	A
	

	B
	

	C
	


SECTION 95.02
REFERENCE TO MUNICIPALITY OF ANCHORAGE STANDARD SPECIFICATIONS


This Contract is subject to and hereby incorporates by reference the Municipality of Anchorage Standard Specifications, dated 2024, hereinafter referred to as M.A.S.S.; the 2015 Alaska Sign Design Specifications (ASDS) as adopted and amended by the Municipality; the 2016 Alaska Traffic Manual (ATM); the Manual on Uniform Traffic Control Devices (MUTCD) 2009 Edition; the 2017 National Electrical Safety Code (NESC); the 2020 National Electrical Code as amended and adopted by the Municipality of Anchorage; the most current edition of the American Association of State Highway and Transportation Officials (AASHTO) Specifications for Structural Supports for Highway Signs, Luminaires and Traffic Signals as referenced in the appropriate divisions; and the Public Rights-of-Way Accessibility Guidelines (PROWAG).  These references are intended to be complementary, but if conflicts exist between the references listed above, the more stringent requirement shall govern, unless directed otherwise by the Engineer.



SECTION 95.03
TIME OF COMPLETION
This Project shall be Substantially Completed within XX (XX) calendar days after the Notice-to-Proceed is issued.  The Contract Completion date shall be achieved within XX (XX) calendar days after the Substantial Completion letter is issued.  The total contract days for this Project is XX (XX).

SECTION 95.04
MODIFICATIONS AND/OR ADDITIONS TO MUNICIPALITY OF ANCHORAGE standard SPECIFICATIONS


The following listed provisions of M.A.S.S. are amended as hereinafter stated:

A.  
DIVISION 10
STANDARD GENERAL PROVISIONS


Add the following Section:

SECTION 10.00
ALL APPLICABLE M.A.S.S. ARTICLES

{Section 10.00 is required for ALL contracts unless federal money is involved in the construction project.  If federal money is involved, delete this Section.}


Delete all references to and requirements for compliance with Anchorage Municipal Code Chapter 7.60 the Disadvantaged/Women Owned Business (DBE/WBE) program and specifications.
SECTION 10.02
BIDDING REQUIREMENTS AND CONDITIONS


Article 2.3
Preparation and Submission of Bids


Replace the first paragraph with the following:

Bids shall be submitted according to the instructions in the Invitation to Bid.
SECTION 10.03
AWARD AND EXECUTION OF CONTRACT


Article 3.2
Receipt and Opening of Bids


Replace the second paragraph with the following:

Modification of bids already submitted shall be considered if received by the Purchasing Officer prior to the time of bid opening fixed in the Invitation to Bid.  Modifications of paper bids shall not reveal the amount of the original or revised bid.  Modifications shall state a plus or minus to the affected bid item.

SECTION 10.04
SCOPE OF WORK


Article 4.8
Work Incidental to the Contract


Add the following item:

13.
Installation of flexible delineators at the end of culverts, ends of retaining walls, field inlets, and other locations that may be hazardous or should be delineated for snow removal operations as determined by the Engineer. 

Article 4.17
Utilities


3. 
Gas

Add the following paragraphs:

The Contractor shall download and follow the most current construction guidelines published by ENSTAR.  Those guidelines can be downloaded from:

https://www.enstarnaturalgas.com/safety-education/natural-gas-safety/safety-for-excavators-contractors/
Click on the link in the last sentence of the first paragraph.
The Final Rule from the PHMSA website can be obtained from:
https://www.phmsa.dot.gov/pipeline/excavator-final-rule/about-excavation-enforcement-final-rule
Click on the “Final Rule on Excavation Damage 80 FR 43836” link under Related Links.
4.
Electrical and Telecommunications

Add the following paragraphs:

The Contractor shall download and follow the most current construction guidelines published by Chugach Electric Association.  Those guidelines can be downloaded from:

https://www.chugachelectric.com/member-services/regulations-requirements
Click on the link titled “Electrical Facility Clearance Requirements”.

The following contact information is provided as a courtesy to the Contractor and is the most currently available.

Alaska Communication Systems (ACS) – William McKechnie, 564-1526 or 230-4175
Anchorage Water & Wastewater Utility (AWWU) – Jeff Hurd, 786-5526
AT&T – Mike Barsalou, 264-7325
Chugach Electric Association (CEA) – Jake Moe, 762-4720
ENSTAR Natural Gas – engineering@enstarnaturalgas.com
GCI – ospdesign@gci.com
Municipal Street and Storm Drain Maintenance – Eric Hodgson, 343-8100 
Municipal Street Light Maintenance – Eric Armagost, 343-8417
Municipal Traffic Signals Section – Levi Piehl, 343-8363
Solid Waste Services (SWS) – James Armstrong, 343-6279
Matanuska Electric Association (MEA) – John Foutz, 761-9265
Matanuska Telephone Assoc. (MTA) – Robbie Nash, 761-2704 or 355-1687
Eagle River Street & Storm Drain Maintenance – Anthony Winsor, 343-1512 
Alaska Waste – Josh James, 688-4446

Article 4.22
Project Information Signs

Add the following:

Contractor shall install ___ (XX) project information sign(s).

Article 4.23
Work Order Issued Under “Day Labor” Type Contracts  (Applies to Term Contracts Only)


{Should be deleted for non Day Labor Contract projects} 

THE CONTRACTOR SHALL NOT ACCEPT ANY INDIVIDUAL PROJECT OR WORK ORDER UNDER THIS CONTRACT IN EXCESS OF $50,000 WITHOUT THE PRIOR CONSENT OF THE PURCHASING OFFICER, OR HIS/HER DESIGNEE.  THIS CONDITION IS A MATERIAL ASPECT OF THE CONTRACT.  Notwithstanding the notice requirements of M.A.S.S. Section 10.05, Article 5.28 - Termination of Contract by Owner violations of this provision constitute an immediate and material breach of the contract terms and may result in the termination of this contract for default by the Contractor without further administrative action.
SECTION 10.05
CONTROL OF WORK

Article 5.27
Liquidated Damages

Add the following paragraph:

{Amount of liquidated damages is project specific.}


The Owner may withhold from any progress payment the sum of $_____ per day as Liquidated Damages for each and every calendar day that the Substantial Completion Date is delayed beyond the Contract Completion Date.  The Owner may withhold out of any progress payment the sum of $____ per day as Liquidated Damages for each and every calendar day that the Final Acceptance Date is delayed beyond the Contract Completion Date.  If no money is due Contractor, the Owner will have the right to recover said sums from Contractor, the Surety, or both.
Verify that Section 10.07 applies, if not remove Section 10.07.
SECTION 10.07
MEASUREMENT AND PAYMENT



Add the following Article:

Article 7.0
Payments to Contractors and Subcontractors


{May be deleted for non-state-funded projects.}


This Contract is funded (in part or in its entirety) by the State of Alaska; therefore, the Provisions of Alaska Statute 36, Section 36.90, Article 3, entitled “Public Construction Contract Payment,” apply.
B.  
DIVISION 20
STANDARD CONSTRUCTION SPECIFICATIONS FOR EARTHWORK
SECTION 20.09
REMOVAL OF PAVEMENT

The following change to Article 9.2 is only to be used for projects within ARDSA that include medium to large quantities of pavement removal.

Article 9.2  
Construction

Replace the second paragraph with the following:

Contractor shall keep all asphalt surfacing designated for removal free from objectionable material (concrete, steel, etc.).  Contractor shall deliver all asphalt surfacing that does not contain objectionable material to Street Maintenance.  Contractor shall coordinate exact location and time of delivery with the Maintenance & Operations Department, Street Maintenance Division, at 343-8277.  If the removed asphalt surfacing, under this Section, contains objectionable material, as identified by the Engineer, Contractor shall dispose of this asphalt surfacing in accordance with Division 10, Section 10.04, Article 4.9 – Disposal Sites.

C.  
DIVISION 30
STANDARD CONSTRUCTION SPECIFICATIONS FOR PORTLAND CEMENT CONCRETE
SECTION 30.02
PORTLAND CEMENT CONCRETE, CURB AND GUTTER AND VALLEY GUTTER

Article 2.3  
Construction

Replace the last sentence of Subparagraph 1. Expansion Joints of Subarticle E.  Expansion and Contraction Joints with the following:

After the concrete has set, the expansion joints shall be filled flush to the finish concrete surface with a “Superflex” hot-applied asphalt-based sealant, “Sika-Flex” polyurethane sealant or approved equal, applied according to the manufacturer's recommendation.
SECTION 30.11
SIDEWALK JOINT SEALANT

Article 11.2  
Materials

Replace the first sentence with the following:

Sealant materials shall be a “Superflex” hot-applied asphalt, “Super-Flex” polyurethane or approved equal.
SECTION 30.12
HIGH-PERFORMANCE CONCRETE

Article 12.2  
Materials

Replace Subarticle E.  Expansion Joints with the following:

Filler material shall be non-asphaltic material, one-half inch (1/2”) wide and four inches (4”) deep, with the top one inch (1”) strippable.  Primer shall be “Externaflex” 1993 or approved equal.  Sealant shall be “Sika-Flex” polyurethane or approved equal.  Contractor shall use the appropriate sealant color to match the colored concrete, including Brick Red sealant to match the red concrete.


D.  
DIVISION 40
STANDARD CONSTRUCTION SPECIFICATIONS FOR ASPHALT SURFACING

E.  
DIVISION 50
STANDARD CONSTRUCTION SPECIFICATIONS FOR Sanitary Sewers


F. 
DIVISION 55
STANDARD CONSTRUCTION SPECIFICATIONS FOR STORM DRAIN SYSTEMS
SECTION 55.26
CURED IN PLACE PIPE (CIPP) LINING
Article 26.3
Materials
Replace #1 of C.  Structural Requirements with the following:
1. Pipes shall be considered fully deteriorated.

G.  
DIVISION 60
STANDARD CONSTRUCTION SPECIFICATIONS FOR WATER SYSTEMS




H. 
 Division 65
Standard Construction Specifications for Construction Survey



I.  
DIVISION 70
STANDARD CONSTRUCTION SPECIFICATIONS MISCELLANEOUS



J.  
DIVISION 75
STANDARD CONSTRUCTION SPECIFICATIONS FOR LANDSCAPING IMPROVEMENTS
K.  
DIVISION 80
STANDARD CONSTRUCTION SPECIFICATIONS FOR TRAFFIC SIGNALS AND ILLUMINATION


L.  
DIVISION 85
STANDARD CONSTRUCTION SPECIFICATIONS FOR TRAFFIC CONTROL DEVICES

SECTION 85.05
TRAFFIC MAINTENANCE

Article 5.6
Public Notice
Delete the first paragraph, inclusive of the list of local officials and transportation organizations, and replace with the following:
The following contact information is provided as a courtesy to the Contractor and is the most currently available.

The Work Site Traffic Supervisor shall give notices of changes, delays, or lane/road closures to the following local officials and transportation organizations including, but not limited to:

{If necessary, insert ‘Page Break’ here to have table on single page.}

{Engineer to verify current name and telephone number.}


	1.
	Alaska Trucking Association
	276-1149

	2.
	Alaska State Troopers
	428-7200

	3.
	Alaska Court System
	264-8232

	4.
	Anchorage Police Department
	786-8500

	5.
	Anchorage Fire Department
	267-4950

	6.
	Local Emergency Medical Services
	267-4950

	7.
	Anchorage Public Transportation
	343-8253/8386

	8.
	ASD Pupil Transportation
	742-1207

	9.
	U.S. Postal Service
	266-3261

	10.
	MOA Parks and Recreation
	343-4355

	11.
	Local Schools and Universities
	

	12.

13.
	Local Solid Waste Utilities

Alaska Railroad (where applicable)
	

	14.
	Major Tour Operators
	

	15.
	Volunteer Fire Departments (applicable if operating in the project area)
	


END OF SPECIAL PROVISIONS

MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME
PROJECT LIMITS
XX-XX

III

SUBMITTAL LIST

PROJECT NAME
PROJECT LIMITS
XX-XX

SUBMITTAL LIST

Job #:
____________________________
Contractor:  ______________________

	Submittal Number
	Rev.
	Description

	10.04.9
	
	Private Property Disposal Site Permission; Fill Permit

	10.04.12
	
	Property Owner 48-Hour Closure Notice

	10.04.13
	
	Street Closures; Traffic Control Plan

	10.04.15
	
	Temporary Erosion and Sediment Control Plan 

	10.04.17
	
	Utility Notification Verification

	10.04.17
	
	Pre-Construction Utility Inspection Report

	10.04.17
	
	Post-Construction Utility Inspection Report

	10.04.19
	
	Record Drawings

	10.04.20
	
	Operating and Maintenance Manuals

	10.05.3
	
	Construction Progress Schedule

	10.05.3
	
	Schedule of Values

	10.05.4
	
	Notice of Unusual Working Hours

	10.05.7
	
	Proposed Substitutions

	10.05.9
	
	Contractor’s Authorized Representatives and Employees

	10.05.10
	
	Subcontractor’s List

	10.05.31
	
	Winter Suspension Plan

	10.06.6
	
	Contractor Obtained Permits (ROW, Noise, Electrical, Dewatering, etc.)

	10.06.9
	
	Certificate of Insurance

	10.06.12
	
	Certified Payroll

	10.07.1
	
	Material Weight Tickets

	10.07.7
	
	ADOL Notification of Compliance

	10.07.7
	
	Notarized Certificate of Compliance

	20.02.4
	
	Storm Water Pollution Prevention Plan (SWPPP)

	20.02.4
	
	eNOI

	20.02.14
	
	eNOT and Final SWPPP

	20.02.16
	
	SWPPP Inspection Reports

	20.10.8
	
	Survey Cross-Section Measurement - Usable and Unusable Excavation

	20.12.2
	
	Dewatering Plan

	20.13.2
	
	Trench Excavation Notice to Engineer and AWWU.

	20.29
	
	Work Plan for Pipe Casing Installation

	20.30
	
	Trench Sheeting/Shoring Submittal

	30.01.9
	
	Concrete Temperature Maintenance Procedure Proposal

	30.04.2
	
	Detectable Warning Panel

	40.02.2
	
	Certified Analysis of Asphalt for Seal Coat from Refining Laboratory

	40.04.2
	
	Certified Analysis of Asphalt for Tack Coat from Refining Laboratory

	40.04.3
	
	Tack Coat Test Strip and Notification

	40.05.2
	
	Certified Analysis of Asphalt for Crack and Joint Sealant from Laboratory

	40.06.2
	
	Certified Analysis of Asphalt for A.C. Pavement from Refining Laboratory

	40.06.3
	
	Asphalt Job Mix Formula for A.C. Pavement

	40.06.4
	
	Contractor’s Certificate of Compliance for bituminous paver segregation mechanism installation

	40.06.5
	
	Paving Plan

	40.09.2
	
	Certified Analysis of Asphalt for Bituminous Surface Treatment from Refining Laboratory

	50.02.2
	
	Sanitary Sewer Pipe and Fittings Submittal

	50.03.2
	
	Sanitary Sewer Concrete Structures Submittal

	50.04.2
	
	Sanitary Sewer Pipe Connections and Extensions Submittal

	50.05.2
	
	Sanitary Sewer Flow Control Submittal

	50.06.2
	
	Sanitary Sewer Existing Manhole Modifications Submittal

	50.07.2
	
	Sanitary Sewer CCTV Inspection Submittal

	50.08.2
	
	Work Plan for Removal and Disposal of Existing Cesspools or Septic Tanks

	55.02.3
	
	Storm Drain Watertight Pipe Low Pressure Air Test

	55.02.3
	
	Storm Drain New Pipe CCTV Inspection Submittal

	55.26.2
	
	Cured In Place Pipe (CIPP) Lining Submittal

	55.26.4
	
	Storm Drain Pipe Pre-lining CCTV Inspection Submittal

	55.26.4
	
	Storm Drain Pipe Post-lining CCTV Inspection Submittal

	60.02.2
	
	Water Pipe Submittals

	60.02.5
	
	Flushing and Testing Work Plan and Schedule

	60.03.2
	
	Water Valve Submittals

	60.04.2
	
	Fire Hydrant Submittals

	60.05.2
	
	Water Service Line Submittals

	60.06.2
	
	Galvanic Anode Submittals

	60.07.2
	
	Temporary Water Plan

	60.08.2
	
	Decommissioning Water System Plan

	65.02.2
	
	Survey Field Notes

	65.02.3
	
	Party Chief's Daily Diary

	65.02.5
	
	Survey Cross Sections

	65.02.5
	
	Notification Prior to Cross Section Work

	65.02.13
	
	Survey Electronic Data

	65.02.16
	
	Survey Quantity Measurements (Clearing, Clearing & Grubbing, Pavement Removal, Pavement Rotomilling, Pavement Reclamation, Road Excavation, Trench Excavation, Topsoil, Seeding, and other areas of misc. final surfacing application such as asphalt, concrete, RAP, etc. which are measured in SF or SY)

	75.02.2
	
	Plant Schedule

	75.02.3
	
	Notification 5 Working Days Prior to Plant Delivery

	75.02.3
	
	Identify Tree Protection Zone

	75.02.4
	
	Landscape Maintenance Schedule

	75.02.4
	
	Landscaping Watering Schedule

	75.03.2
	
	Topsoil Analysis Test Reports

	75.04.2
	
	Seed Certification Tag

	75.05.1
	
	Sod Submittal

	80.01.3
	
	Electrical Equipment and Materials Submittal

	80.01.3
	
	Record Drawings

	80.01.4
	
	Manufacturers’ Warranties, Guarantees and Instruction Sheets

	80.01.5
	
	Traffic Signal Maintenance Name and Telephone Number

	80.05.1
	
	Wind Stress Certification Submittal

	80.17.2
	
	Controller Unit Documentation

	80.17.7
	
	Controller Unit, Aux. Equipment, and Cabinet Submittal

	80.18
	
	Loop Detector Test Reports

	80.23.2
	
	Luminaire Lens Certified Compliance

	80.25
	
	Falsework Lighting Submittal

	80.30.3
	
	Heat Trace System Submittal

	80.30.4
	
	Heat Trace System Warranties, Guarantees, and Inspection Sheets

	85.03.3
	
	Manufacturer’s Recommendations for Application of Methyl Methacrylate Traffic Markings

	85.05.2
	
	Traffic Control Plan (TCP)

	85.05.4
	
	Identify Work Site Traffic Supervisor/Telephone Number

	85.05.6
	
	Proof of Public Notice

	85.11.2
	
	Permanent Vertical Traffic Calming Devices Cross Section Template


NOTE:
The above list of submittals is not all inclusive.  In addition to the above, the Contractor is required to comply with all submittal requirements as required or identified in the plans, specifications, M.A.S.S., or as directed by the Engineer.

PROJECT NAME
PROJECT LIMITS
XX-XX
SUBMITTAL LIST

Job #:
____________________________
Contractor:  ______________________

	Submittal Number
	Rev.
	Description

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


NOTE:
The above list of submittals is not all-inclusive.  In addition to the above, the Contractor is required to comply with all submittal requirements as required or identified in the plans, specifications, M.A.S.S., or as directed by the Engineer.

MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME
PROJECT LIMITS
XX-XX

IV

special details
[image: image1.png]REVISION: TYPE 4 CURB & GUTTER

0. 00
2. SZ

127

3

‘ 15"

TYPE 5
NOJE:

A —0275

12"

10"

TYPE 4
(USED AT CURB CUTS)

15"

24"

IYPE 6

1. TROWEL BOTH FRONT AND BACK EDGES OF THE CURB & GUTIER TO

A RADIUS OF ONE—HALF (1/2) INCH.

MUNICIPALITY

OF ANCHORAGE

SCALE;
N.T.S.

APPROVED:

REVISED:
7/24

CURB AND GUTTER

CROSS SECTIONS

SECTION #
30.02

DETAIL #

30—1






MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME
PROJECT LIMITS
XX-XX

V

SOILS INFORMATION
MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME
PROJECT LIMITS
XX-XX

VI

TEMPORARY CONSTRUCTION PERMITS AND EASEMENTS

MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME
PROJECT LIMITS
XX-XX

VII

EQUAL EMPLOYMENT OPPORTUNITY SPECIAL PROVISIONS
CONTRACT COMPLIANCE SPECIFICATIONS
EQUAL EMPLOYMENT OPPORTUNITY

SPECIAL PROVISIONS
Every municipal contract shall include language substantially the same as the following:  The contractor will not discriminate against any employee or applicant for employment because of race, color, religion, national origin, ancestry, age, sex, sexual orientation, gender identity, marital status, or physical or mental disability.  The contract will comply with all laws concerning the prohibition of discrimination including, but not limited to, Title 5 and Title 7 of the Anchorage Municipal Code.

Every municipal contract shall state, in all solicitations or advertisements for employees to work under the contract, that all qualified applicants will receive consideration for employment without regard to race, color, religion, national origin, ancestry, age, sex, sexual orientation, gender identity, marital status, or physical or mental disability.

MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME
PROJECT LIMITS
XX-XX

VIII
MINIMUM RATES OF PAY

Laborers’ & Mechanics’ Minimum Rates of Pay

Title 36. Public Contracts AS 36.05 & AS 36.10 Wage & Hour Administration Pamphlet No. 600 (Pamphlet 600) is hereby incorporated in its entirety.  Pamphlet 600 is available for free download at http://labor.state.ak.us/lss/pamp600.htm.

The Municipality of Anchorage will include a paper copy of the wage rates in the signed Contract.
MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME
PROJECT LIMITS
XX-XX

IX

CONTRACT
[image: image4.emf]
[image: image5.png]DATE (MM/DDIYYYY)

N,
ACORD CERTIFICATE OF LIABILITY INSURANCE

THIS CERTIFICATE IS ISSUED AS A MATTER OF INFORMATION ONLY AND CONFERS NO RIGHTS UPON THE CERTIFICATE HOLDER. THIS
CERTIFICATE DOES NOT AFFIRMATIVELY OR NEGATIVELY AMEND, EXTEND OR ALTER THE COVERAGE AFFORDED BY THE POLICIES
BELOW. THIS CERTIFICATE OF INSURANCE DOES NOT CONSTITUTE A CONTRACT BETWEEN THE ISSUING INSURER(S), AUTHORIZED
REPRESENTATIVE OR PRODUCER, AND THE CERTIFICATE HOLDER.

IMPORTANT: I the certificate holder is an ADDITIONAL INSURED, the policy(ies} must be endorsed. If SUBROGATION IS WAIVED, subject to
the terms and conditions of the policy, certain policies may require an endorsement. A statement on this certificate does not confer rights to the
certificate holder in lieu of such endorsement(s).

PRODUGER SAOSECT

PHONE FAX
{AIC, No, Extl; {AIC, Na):

E-MAIL
ADDRESS:

INSURER(S) AFFORDING COVERAGE NAIC #

INSURER A :

INSURED INSURER B :

INSURER C ;

INSURER ©

INSURERE :

INSURER F :

COVERAGES CERTIFICATE NUMBER: REVISION NUMBER:

THIS IS TO CERTIFY THAT THE POLICIES OF INSURANCE LISTED BELOW HAVE BEEN ISSUED TO THE INSURED NAMED ABOVE FOR THE POLICY PERIOD
INDICATED. NOTWITHSTANDING ANY REQUIREMENT, TERM OR CONDITION OF ANY CONTRACT OR OTHER DOCUMENT WITH RESPECT TO WHICH THIS
CERTIFICATE MAY BE ISSUED OR MAY PERTAIN, THE INSURANCE AFFORDED BY THE POLICIES DESCRIBED HEREIN [S SUBJECT TO ALL THE TERMS,
EXCLUSIONS AND CONDITIONS OF SUCH POLICIES. LIMITS SHOWN MAY HAVE BEEN REDUCED BY PAID CLAIMS.

53 ROOLIEUER] POLICY EFF. | POLICY EXP
ll':‘TR TYPE OF INSURANCE 1SR | wvp POLICY NUMBER (MADDIYYYY) | (MIDDIYYYY) LIMITS
GENERAL LIABILITY EACH OCCURRENCE 3
] DAMAGE T0 RENTED
COMMERCIAL GENERAL LIABILITY PREMISES (£a occurrence) | §
CLAIMS-MADE D OCCUR MED EXP (Any one person) | §
PERSONAL & ADV INJURY [ §
GENERAL AGGREGATE s
GEN'L AGGREGATE LIMIT APPLIES PER: PRODUCTS - COMPIOP AGG | §
POLICY. Jpé‘(gf LoC s
AUTOMOBILE LIABILITY COMBINEDSINGLELMIT 4
ANY AUTO BODILY INJURY {Per person) | §
ALL OWNED SCHEDULED .
ALY SOHED HODILY INJURY {Per sccident) | §
NON-GWNED FROPERTY DAMAGE s
HIRED AUTOS AUTOS Per accident)
B
UMBRELLA LIAB oCccurR EACH OGCURRENCE 5
EXCESS LIAB GLAIMS-MADE AGGREGATE 5
DED | | RETENTION S 5
WORKERS COMPENSATION WC STATU- GiH-
AND EMPLOYERS' LIABILITY YIN TORY LIMITS £R
ANY PROPRIETOR/PARTNERIEXECUTIVE £1 EACH ACCIDENT 5
OFFICERAMEMBER EXCLUDED? NiA
{Mandatory in NH) E.L. DISEASE - £A EMPLOYEE| §
If yes, descrive under
DESCRIPTION OF OPERATIONS beiow E.L. DISEASE - POLICY LIMIT | §

DESCRIPTION OF OPERATIONS / LOCATIONS / VEHICLES (Attach ACGRD 101, Additional Remarks Schedule, if more space is requirad)
ADDITIONAL INSURED:
1. ADDITIONAL INSURANCE: The Municipality of Ancharage is an additional insured on all policies, and shall contain a WAIVER OF SUBROGATION

against the Municipality except Professional Liability and Worker's Compensation.
2. CANCELLATION: "Should any of the above described policies be cancelled before the expiration date thereof, notice will be delivered in accordance

with the Policy Provisions.”

CERTIFICATE HOLDER CANCELLATION

SHOULD ANY OF THE ABOVE DESCRIBED FOLICIES BE CANCELLED BEFORE
THE EXPIRATION DATE THEREOF, NOTICE WILL BE DELIVERED IN
ACCORDANCE WITH THE POLICY PROVISIONS.

AUTHORIZED REPRESENTATIVE

© 1988-2010 ACORD CORPORATION. All rights reserved.
ACORD 25 (2010/05) The ACORD name and logo are registered marks of ACORD





[image: image6.png]CONTRACT

Invitation to Bid No. 20XXC

Contract No. C-20XX

NAME AND ADDRESS OF CONTRACTOR:

MUNICIPALITY OF ANCHORAGE, acting thr ereinafter the Owner).

Contract for

BID SCHEDULES P HEET AMOUNT
ILE NUMBERS

$

Total Amount: $

by the MUNICIPALITY OF ANCHORAGE, ALASKA, acting through
d the individual, partnership, or corporation named above, hereinafter
ETH that the parties hereto do mutually agree as follows:

ntractor shall furnish all labor, equipment and materials and perform the
he amount stated, in strict accordance with the Contract Documents.

Work above described,

Page 1 of 4





[image: image7.png]CONTRACT DOCUMENTS

I. This CONTRACT consisting of 4 pages.

II.  The Bid Proposal Section consisting of pages numbered as , as contained in ITB
20XXC .

Ill. The Contract Performance and Payment Bond

IV. The Contractor's Certificate of Insurance Dated

V. Municipality of Anchorage Standard Specifications dated 2024 (MASS) In
Reference, as contained in ITB 20XXC

VI. Specifications consisting of the following:

Supplemental Provisions Section pa attachments Exhibit A
through F, as contained in ITB 20XXC
VII. Equal Opportunity Special Provision consisting of pages, as

contained in ITB 20XXC .

VIll.Disadvantaged/\Women- i (DBE/WBE) Specification Section
consisting of pages, i .

IX. The Laborers' a Section
consisting of

X. of page, as contained in ITB 20XXC

XI. sheets numbered , as contained in ITB

Page 2 of 4





MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME
PROJECT LIMITS
XX-XX

X

CONTRACT PERFORMANCE AND PAYMENT BOND

CONTRACT PERFORMANCE AND PAYMENT BOND
KNOW ALL PERSONS BY THESE PRESENTS, That we _______________________________

________________________________ of __________________________________________

as Principal, and _______________________________________________________________

a corporation organized under the laws of the ________________________________________

________________________________________ and authorized to transact surety business in the State of Alaska, of ___________________________________________________________

as Surety, are held and firmly bound unto the MUNICIPALITY OF ANCHORAGE, as Obligee, in the full and just sum of __________________________________________________________

($___________________________________) Dollars, lawful money of the UNITED STATES, for the payment which, well and truly to be made, we bind ourselves, our heirs, executors, administrators, successors and assigns, jointly and severally, firmly by these presents.

THE CONDITIONS OF THIS OBLIGATION IS SUCH, that whereas the principal has entered into a certain contract dated the ______________________ day of ____________ 20____________, with the Obligee for the construction of ______________________________________________
_____________________________________________________________________________

which contract is hereby referred to and made a part hereof as fully and to the same extent as if copied at length herein.

NOW THEREFORE, if the Principal shall well and truly perform and fulfill all the undertakings, covenants, terms, conditions, and agreements of said contract, and shall promptly make payments to all persons supplying labor and material in the prosecution of the work provided for in said contract, during the original term of said contract and any extensions or modifications thereof that may be granted by the Municipality, with or without notice to the Surety, then this obligation to be void; otherwise to remain in full force and effect.

This obligation is made for the use of said Obligee and also for use and benefit of all persons who may perform any work or labor or furnish any material in the execution of said Contract and may be sued on thereby in the name of said Obligee.

The said Surety, for the value received, hereby stipulates and agrees that no change, extension of time, alteration or addition to the terms of the contract or to the work to be performed thereunder or the specifications accompanying the same, shall in anywise affect its obligations on this bond, and it does hereby waive notice of any such change, extension of time, alteration or addition to the terms of the contract or to the work or to the specifications.

Whenever Principal shall be, and declared by Obligee to be in default under the Contract the Obligee having performed Obligee’s obligations thereunder, the Surety may promptly remedy the default or shall promptly:

1.
Complete the Contract in accordance with its terms and conditions, or

2.
Obtain a bid or bids for submission to Obligee for completing the Contract in accordance with its terms and conditions and upon determination by Surety of the lowest responsible bidder, or, if the Obligee elects, upon determination by Obligee and the Surety jointly of the lowest responsible bidder, arrange for a contract between such bidder and Obligee and make available as Work progresses (even though there should be a default or a succession of defaults under the contract or contracts of completion arranged under this paragraph) sufficient funds to pay the cost of completion less the balance of the contract price but not exceeding, including other costs and damages for which the Surety may be liable hereunder the amount set forth in the first paragraph hereof.  The term “balance of the contract price” as used in this paragraph, shall mean the total amount payable by Obligee to Principal under the Contract and any amendments thereto, less the amount properly paid by Obligee to Principal.

IN TESTIMONY WHEREOF, the parties hereunto have caused the execution hereof in ________

________________ original counterparts as of the __________________ day of ____________,

20_________.

WITNESS AS TO PRINCIPAL:

_________________________________


________________________________












Principal Name










___________________________











      Principal Signature








___________________________












Corporate Surety


       (AFFIX CORPORATE SEAL)










___________________________










___________________________











  Surety Business Address









BY:
___________________________











       (Attorney-In-Fact)

(AFFIX SURETY SEAL)

MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME
PROJECT LIMITS
XX-XX

XI

CERTIFICATE OF INSURANCE

[image: image8.png]IN WITNESS WHEREOF, the parties hereto have executed this Contract as of the Contract Date
entered below.

MUNICIPALITY OF ANCHORAGE, ALASKA VENDOR

BY

Signhature

Purchasing Officer or desighee
Title

Title

ate of Signature

Date of Signature and ate:

?\

Page 3 of 4





MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME
PROJECT LIMITS
XX-XX

XII

BID BOND

[image: image9.png]CONTRACT AND PERFORMANCE AND PAYMENT
BOND SIGNATURE INSTRUCTIONS

. The full name and business of the Contractor shall be inserted on Page 1 of the Contract and on
the Performance and Payment Bond, hereinafter the Bond.

. Two copies of the Contract and the Bond shall be manually signed b e Contractor. If the
Contractor is a partnership or joint venture, all partners or joint ventur, all sign the Contract
and the Bond except that one partner or one joint venturer may si the partnership or joint
venture when all other partners or joint venturers have executed er-of-A ey authorizing
one partner or joint venturer to sign. The Power-of-Attorney s the executed

contract and the Bond.

.the Bond unless a Power-of-Attorney or corporate executed
Contract and Bond.

. The Bond shall be returned to the Purchasin isi . Date shall be
inserted on the Contract when the Municipality
same as the Contract Date.

Page 4 of 4




MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME
PROJECT LIMITS
XX-XX

XIII

BIDDER’S CHECKLIST & RESPONSIBLE BIDDER QUESTIONNAIRE

BIDDER’S CHECKLIST

INSTRUCTIONS TO BIDDER

I.
General
Bidders are advised that, notwithstanding any instructions or implications elsewhere in this Invitation to Bid, only the documents shown and detailed on this sheet need be submitted with and made part of their bid.  Other documents may be required to be submitted after bid time, but prior to award.  Bidders are hereby advised that failure to submit the documents shown and detailed on this sheet shall be justification for rendering the bid nonresponsive.  Evaluation of bids for responsiveness shall be accomplished in accordance with Anchorage Municipal Code, Title 7.

II.
REQUIRED DOCUMENTS FOR BID:

NOTE:
Only the following listed items as marked with an “X” are required to be completely filled out and submitted with the bid.

    X    
Bid proposal consisting of pages BP-      through BP-     .  BP-      of BP-      must be signed.
    X    
Erasures or other changes made to the Bid Proposal Sheet must be initialed by the person signing the bid.

           
Two identical sets of descriptive literature, brochures, and/or data must accompany the bid where specifically requested or when in support of an “or equal” offer.

    X    
Bid bond, certified check, cashiers check, money order or cash shall be submitted with the bid in the amount indicated.

    X    
All Addenda issued shall be acknowledged in the space provided on the Bid Proposal sheet or by signing the Addenda sheet and submitting it prior to the bid opening in accordance with Anchorage Municipal Code 7.20.020C.

           
Disadvantaged and Women-Owned Business Enterprises, Form 10‑029
           
Others

MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT

PROJECT NAME
PROJECT LIMITS
XX-XX

XIV

BID PROPOSAL

BID PROPOSAL

(CERTIFICATION)

TO:
MUNICIPALITY OF ANCHORAGE



, 2024

PURCHASING DEPARTMENT


632 W. 6TH AVENUE, SUITE 520


ANCHORAGE, ALASKA 99501

SUBJECT:
Invitation to Bid No. ________
PROJECT TITLE:  






Pursuant to and in compliance with subject Invitation to Bid, and other bid documents relating thereto, the bidder hereby proposes to furnish all labor and materials and to perform all work for the construction of the above referenced project in strict accordance with the bid documents at the prices established in the Bid Proposal, pages BP-XX through BP-ZZ submitted herewith.
The bidder agrees, if awarded the contract, to commence and complete the work within the time specified in the bid documents.

The bidder acknowledges receipt of the following addenda:

Addenda No.



Date of Addenda


Addenda No.



Date of Addenda


Addenda No.



Date of Addenda


Enclosed is a Bid Bond in the amount of 

.




(Dollar Amount or Percentage of Bid)

Type of Business Organization

The bidder, by checking the applicable box, represents that it operates as (  ) a corporation incorporated under the laws of the State of 
, (  ) an individual, (  ) an LLC, (  ) a partnership, (  ) a nonprofit organization, or (  ) a joint venture.  If a partnership or joint venture, identify all parties on a separate page.
Company Name

BID PROPOSAL

(CERTIFICATION)

Continued

SUBJECT:
Invitation to Bid No. 


PROJECT TITLE:  











Date





Alaska Contractor’s License Number
Company Name (Printed)




Employer’s Tax Identification Number

Authorized Representative Signature




Printed Name & Title

Company Mailing Address





Company Phone Number
City, State, Zip Code






Company Fax Number









Company Email Address
Company Physical Address
(if different from mailing address)

City, State, Zip Code

	SCHEDULE A – Basic Bid SAMPLE

	ITEM
	SPEC.
	WORK DESCRIPTION
	 
	EST
	UNIT BID
	TOTAL BID

	NO.
	NO.
	(UNIT PRICE IN WORDS)
	 
	QTY
	PRICE
	PRICE

	A-1
	20.02
	Storm Water Pollution Prevention Plan (Type 3)
	per L.S.
	1
	
	

	A-2
	95.04 20.09 
	Remove Pavement
	per S.Y.
	2,000
	
	

	A-3
	20.10
	Unusable Excavation
	per C.Y.
	2,550
	
	

	A-4
	30.02 
	P.C.C. Curb & Gutter (All Types)
	per L.F.
	100
	
	

	A-5
	75.03
	Topsoil (4")
	per MSF
	5.2
	
	

	A-6
	75.04
	Seed (Schedule A)
	per MSF
	5.2
	
	

	
	
	
	Schedule A Total:
	
	

	
	
	
	
	
	
	

	 
	 
	 
	 
	
	 
	 

	
	
	Contractor
	
	
	Date
	


MUNICIPALITY OF ANCHORAGE 
PROJECT MANAGEMENT AND ENGINEERING DEPARTMENT
PROJECT NAME
PROJECT LIMITS
XX-XX

XV

PLANS (XX SHEETS)

Suggested organization of Plan Set}

	Sheet 1
	Cover Sheet

	Sheet 2
	Key Map and Legend

	Sheet 3
	Survey Control Sheet

	Sheet 4
	Demolition Plan

	Sheet 5
	Street Improvement Plan

	Sheet 6
	Street Improvement Plan

	Sheet 7
	Storm Drain Improvements

	Sheet 8
	Sanitary Sewer Improvements

	Sheet 9
	Water Improvements

	Sheet 10
	Details

	Sheet 11
	Curb Ramp Details

	Sheet 12
	Illumination Plan

	Sheet 13
	Striping Plan

	Sheet 14
	Signing Plan (may be combined with striping plan)

	Sheet 15
	Sign Installation and Pavement Marking Detail Sheet

	Sheet 16
	ML&P Vault and Duct System

	Sheet 17
	

	Sheet 18
	

	Sheet 19
	

	Sheet 20
	

	Sheet 21
	

	Sheet 22
	


� EMBED Word.Picture.8  ���








[image: image10.png]BID BOND

KNOW ALL PERSONS BY THESE PRESENTS, That we,

as Principal, and a

corporation organized under the laws of the and

authorized to transact surety business in the State of Alaska, of
as Surety, are held and firmly bound unto the MUNICIPALITY OF
ANCHORAGE, as Obligee, in the full and just sum of

$ ) Dollars, lawful
money of the UNITED STATES, for the payment of which sum, well and truly to be made, we bind

ourselves, our heirs, executors, administrators, successors, and assigns, jointly and severally, firmly
by the presents.
WHEREAS, the said Principle is herewith submitting its proposal for

The condition of this obligation is such that if the aforesaid Principal will, within the time required enter
into a formal contract and give a good and sufficient bond to secure the performance of the terms and
conditions of the contract, then this Obligation to be void; otherwise the Principal and Surety will pay

unto to the Obligee the amount stated above.

Signed, sealed, and delivered , 20

WITNESS AS TO PRINCIPAL:

Contractor Name

Contractor Signature

(AFFIX CORPORATE SEAL) Corporate Surety

Surety Business Address

BY:

(Attorney-In-Fact)
(AFFIX SURETY SEAL)



_1107871759.doc



